|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 001.jpg  **List of Instruments Required for Ortho ward.** | | |  |  |  |  |  |
| **S.No** | **Description** | **QTY** |  |  |  |  |  |
|  | Basic Instruments Set Orthopedic | 01 Set |  |  |  |  |  |
|  | DCP (Plating Set) Large fragmet | 01 Set |  |  |  |  |  |
|  | DCP (Plating Set) Small Fragmet | 01 Set |  |  |  |  |  |
|  | Interlocking Nailing Set (Femur with assembly & pneumatic reamers) | 01 Set |  |  |  |  |  |
|  | Interlocking Nailing Set ( with Tibia assembly & pneumatic reamers) | 01 set |  |  |  |  |  |
|  | DHS Set | 01 Set |  |  |  |  |  |
|  | DCS Set | 01 Set |  |  |  |  |  |
|  | Spinal Instrumentation Set | 01 Set |  |  |  |  |  |
|  | Bone Grafting Set (graft harvest) | 01 Set |  |  |  |  |  |
|  | Partial HIP replacement Set including charnely retractor | 01 Set |  |  |  |  |  |
|  | POP Cutter | 01 No |  |  |  |  |  |
|  | Brawn Frame | 10 Nos |  |  |  |  |  |
|  | Artery Forcep | 05 Nos |  |  |  |  |  |
|  | Dressing Drum Small | 05 Nos |  |  |  |  |  |
|  | Knife Holder | 02 Nos |  |  |  |  |  |
|  | Moris Retractor | 01 No |  |  |  |  |  |
|  | Kidney Tray 10” | 02 Nos |  |  |  |  |  |
|  | Kidney Tray 8” | 05 Nos |  |  |  |  |  |
|  | Kidney Tray 6” | 01 No |  |  |  |  |  |
|  | Needle Holder | 02 Nos |  |  |  |  |  |
|  | Tooth/Plain Forcep | 08 Nos |  |  |  |  |  |
|  | Plaster Tray | 01 No |  |  |  |  |  |
|  | Surgical Assistant Scissor | 02 Nos |  |  |  |  |  |