SECTION - 0120

# CONTRACTOR'S CAMP

- SCOPE

- PAYMENT OF WORK

1.	SCOPE

The work to be done under this item consists of construction, erection, installation and maintenance of the Contractor's Project Site Offices or main camp and the Contractor's sub-camps or temporary camps, if any, and shall include all offices, shops, warehouses, and other operational buildings; all housing and related facilities including accommodations for the Contractor's personnel.

The location of the Contractor's camps, including all buildings, utilities and facilities thereof, and of the camps or establishments of all persons/parties in the vicinity operating or associated with the Contractor shall be subject to approval of the Engineer.

The work to be done under this item will terminate upon the actual Completion Date. However, if directed by the Engineer or the Employer, the Contractor shall continue such work to the extent required by the Contractor's personnel during the period of maintenance. No compensation shall be paid for the continued operation and maintenance of the Contractor's Camps during the period of maintenance.

Upon completion of the Works, or at such time within the period of maintenance as directed by the Engineer, the Contractor shall remove all buildings utilities and other facilities from the Site and restore all camp areas to a neat and clean condition.

The Employer shall not be responsible to provide any space to the Contractor for building his construction and labour camps and any other facilities in this respect. The Contractor shall make his own arrangements for space for his construction and labour camp at his own risk and cost.

The construction, operation and maintenance of all camps of the Contractor shall comply with all applicable provisions of current Pakistan Labor Camp Rules.

The Contractor shall furnish, make arrangements for, and carry out adequate maintenance for the Contractor’s camp areas at each camp to provide a neat, well kept camp in all respects with pleasant and healthful surroundings and conditions for all occupants of their camp. The Contractor’s camps shall be kept clean, well graded, and free from undergrowth and brush and adequately drained. Roads and streets shall be kept in good condition. All utilities shall be adequately and properly, operated and maintained to provide services and conditions meeting the requirements of these specifications in all respects.

Adequately equipped and properly staffed portable first aid stations or dispensaries shall be provided by the Contractor at camps and other strategic locations to administer first aid treatment at any time required and free of charge to all persons on the Site, including employees of the Engineer and the Employer.

The Contractor shall facilitate the Engineer in use of his site office if and when required by the Engineer in performance of his duties regarding the supervision of project.

2.	PAYMENT OF WORK

No payment shall be made for the work involved within the scope of this section of Specifications unless otherwise specifically stated in the Bills of Quantities or herein.

The cost thereof shall be deemed to have been included in the quoted rates of other items of the Bills of Quantities.