|  |  |  |
| --- | --- | --- |
| **MEDICAL TEACHING INSTITUON, AYUB TEACHING HOSPITLA ABBOTTABAD.** | | |
| **Demand of Surgical Disposable(Non Drug Items) for the year 2024-25** | | |
| **S.No** | **Name of Item** | **Total Qty Required** |
|  | | |
| 1 | Foldable Hydrophilic lens with double loop Hepatics | 600 |
| 2 | Foldable Hydrophilic lens with Singel Hepatics | 120 |
| 3 | Posterior chamber PMMA rigid lens 6.5 mm | 1200 |
| 4 | Anterior Chamber PMMA 13mm lens | 120 |
| 5 | 3.2mm Phaco Knif | 720 |
| 6 | 1.5mm stab knif | 720 |
| 7 | crescent knife(bevel-up) | 360 |
| 8 | 23G universal viterous cutter | 120 |
| 9 | injection methyl cellulose(glass syring/vail) | 3000 |
| 10 | injection methylene blue | 1200 |
| 11 | Injection crabacol | 600 |
| 12 | Eye towel with drainage beg | 3600 |
| 13 | 10/0 nylon 3/8 double ended spitulated needle | 1800 |
| 14 | 8/0 virgen silk blue half circle double ended | 240 |
| 15 | 6/0 polyglycolic acid 3/8 double ended spitulated needle | 300 |
| 16 | 5/0 polyglycolic acid half circle round body single needle | 120 |
| 17 | 7/0 polyglycolic acid3/8 double ended spitulated needle | 180 |
| 18 | 9/0 or 10/0 proline with one straight and one 1/10 circle | 60 |
| 19 | D.C.R Tube | 180 |
| 20 | 5/0 ethibond | 180 |