

**MEDICAL TEACHING INSTITUTION**

**AYUB TEACHING HOSPITAL**

**OFFICE OF THE DEPUTY DIRECTOR ELECTRO MEDICAL**

**Detail of Instruments sets (Complete sets specification with quantity is Attached**)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **ORTHOPEDIC DEPTT** | | | | |
|  | Interlocking Nailing Set (Femur With assembly flexible reamers | | Set |  |
|  | Interlocking Nailing Set (Tibia With assembly & Flexible reamers) | | Set |  |
|  | DHS+DCS Set Adult | | Set |  |
|  | DHS Set Pediatric | | Set |  |
|  | POP Cutter | | Set |  |
|  | Basic General Orthopedic Set | | Set |  |
|  | Pneumatic Tourniquet Set (Diff Size) | | Set |  |
|  | Pneumatic Dermatone | | Set |  |
|  | Broken Screw Removal Set | | Set |  |
|  | Locking Plate Set | | Set |  |
|  | Universal Spine Instrument Set | | Set |  |
|  | Headless Screw Sets | | Set |  |
|  | Hand Surgery Instatements Set | | Set |  |
|  | Instrument Set For Cannulated Screw | | Set |  |
|  | Instruments For Elastic Titanium Nails Femur | | Set |  |
|  | Rush Nail Reamers & Impactors+Bone Awls | | Set |  |
|  | Partial HIP Replacement Set | | Set |  |
|  | Bone Grafting Set | | Set |  |
|  | Small Fragment Set | | Set |  |
|  | Large Fragment Set | | Set |  |
|  | Tourniquets Large size, Medium size, Small size each | | Set |  |
|  | Broken /Slip Screw removal set | | Set |  |
|  | Interlocking Nail removal Set’s femur/Tibia/Humerus | | Set |  |
| **GEN SURGERY SET (Detail Attached)** | | | | |
|  | General surgery set | | Set |  |
|  | Thyroid surgery set | | Set |  |
|  | Fine surgery instruments set | | Set |  |
|  | Cholecystectomy set | | Set |  |
|  | Appendisectomy set | | Set |  |
|  | Laparotomy set | | Set |  |
|  | Vene section set | | Set |  |
|  | Intestinal surgery set (use with laparotomy set) | | Set |  |
|  | I.v. Cut down set | | Set |  |
|  | Thoracotomy set | | Set |  |
|  | Minor surgery set | | Set |  |
|  | Vascular surgery set | | Set |  |
|  | General surgery instruments set | | Set |  |
|  | Vieni section set | | Set |  |
|  | Pulse Oximeter (81mm (L) 68MM (W) 49mm (H) For store (As Per sample) | | No |  |
| **GYNACOLOGY SET (Detail Attached)** | | | | |
|  | General surgery set | | Set |  |
|  | Fine surgery instruments set | | Set |  |
|  | D & c instruments set | | Set |  |
|  | Caesarian section instruments set | | Set |  |
|  | Vaginal hystrectomy set | | Set |  |
|  | Delivery set | | Set |  |
|  | Abdominal hystrectomy set | | Set |  |
| **NEURO-SURGERY SET (Detail Attached)** | | | | |
|  | Brain retractor system | | Set |  |
|  | Transphenoidal pituatary set | | Set |  |
|  | Aneurysm clips/appliers | | Set |  |
|  | Electric craniotome set | | Set |  |
|  | Brain retractor system | | Set |  |
|  | Laminectomy instrument set | | Set |  |
|  | Craniotomy instrument set | | Set |  |
| **ORTHOPEDAIC SET(Detail Attached)** | | | | |
|  | General set for orthopedic surgery | | Set |  |
|  | Basic instruments set | | Set |  |
|  | Orthopedic small fragment set | | Set |  |
|  | Austin moore hip prosthesis instrument set | | Set |  |
|  | Wire instrument set | | Set |  |
|  | Amputation set | | Set |  |
|  | Pelvic basic surgery set | | Set |  |
|  | Tension band wire instruments set | | Set |  |
|  | Large fragment set | | Set |  |
|  | Small fragment set | | Set |  |
| **PEADS SURGERY SET (Detail Attached)** | | | | |
|  | Paeds surgery department general surgical set | | Set |  |
|  | Plastic surgical set | | Set |  |
|  | Laparotomy set | | Set |  |
|  | Billiary surgery set | | Set |  |
|  | Thoracotomy set | | Set |  |
|  | Labioplasty / platoplasty set | | Set |  |
|  | Rectal surgery set | | Set |  |
|  | Circumcision set | | Set |  |
| **UROLOGY O.T. INSTRUMENTS Sets(Detail Attached)** | | | | |
|  | Urology OT Instruments | | Set |  |
|  | Kidney pack | | Set |  |
|  | Vascular surgery instrument set | | Set |  |
|  | Kidney donor tray | | Set |  |
|  | Phimosis set | | Set |  |
|  | Orchidectomy set | | Set |  |
|  | Kirschner frame set | | Set |  |
|  | Miscellaneous individual instruments | | Set |  |
|  | Two Prong forcep for URS ( 4 FRS) | | No. |  |
|  | Three Prong forcep for URS ( 4 FRS) | | No. |  |
|  | Cold Knife (Richard Wolf) | | No |  |
|  | Colin Knife (Richard Wolf) | | No |  |
|  | Cutting Loops (Richard Wolf) | | No |  |
| **EYE SURGICAL SET (Detail Attached)** | | | | |
|  | Cataract instuments set | | Set |  |
|  | DCR Set | | Set |  |
|  | Chalazion set | | Set |  |
|  | Squint set | | Set |  |
|  | Cataract set | | Set |  |
|  | Dcr set | | Set |  |
|  | Squint set | | Set |  |
|  | Glaucoma set | | Set |  |
|  | Cataract set with container | | Set |  |
|  | Squint set with container | | Set |  |
|  | R.d. (retinal detachement) set with container | | Set |  |
|  | Dcr set with container | | Set |  |
|  | Ptosis set with container | | Set |  |
|  | Probing syringing set with container | | Set |  |
|  | Entropion + chalazion set with container | | Set |  |
| **ENT SURGICAL SET (Detail Attached)** | | | | |
|  | Rhinoplasty set | | Set |  |
|  | Tympanoplasty set | | Set |  |
|  | Smr set | | Set |  |
|  | Tonsillectomy set | | Set |  |
|  | polypectomy set | | set |  |
|  | Stapedectomy set | | Set |  |
|  | Tracheostomy set | | Set |  |
|  | Mastoidectomy set | | Set |  |
|  | Nasal polypectomy set | | Set |  |
|  | Oesophagoscope rigid set | | Set |  |
|  | Rigid bronchoscope | | Set |  |
|  | Operating / direct laryngoscope set | | Set |  |
|  | Septorhinoplasty surgery set | | Set |  |
|  | Myringotomy set | | Set |  |
| **Thoracic Surgery Sets (Detail Attached)** | | | | |
|  | Foerster Sponge forceps, 9-1/2” (24.1CM)  Curved, serrated Jaw; EA | | No |  |
|  | Backhaus Towel Clamp 5-1/4” | | No |  |
|  | Lanes Tissue Forceps 1x2,7” | | No |  |
|  | BP Knife Handle For Blade Size 3,6” Long | | No |  |
|  | BP Knife Handle For Blade Size 4,6” Long | | No |  |
|  | BP Knife Handle For Blade Size 7, 6” Long | | No |  |
|  | BP Knife Handle For Blade Size 7,10” Long | | No |  |
|  | Plane Tissue Forceps 10” | | No |  |
|  | Dissecting Tissue Forceps Plan 7” | | No |  |
|  | Ferris Smith Toothed Tissue Forceps 1x2 Teeth 7” | | NO |  |
|  | Ferris Smith Toothed Tissue Forceps 2x3 Teeth 7” | | No |  |
|  | Debakey Tissue Forceps 1.5mm Tip 8” (FDA) | | No |  |
|  | Debakey Tissue Forceps 3.0 mm Tip 8” (FDA) | | No |  |
|  | Debakey Tissue Forceps 3.0 mm Tip 12” (FDA) | | No |  |
|  | Adson Tissue Forceps Size 15CM | | No |  |
|  | Mayo Dissecting Scissors Curved TC Insert | | No |  |
|  | Metzenbum Scissors 5” Tungsten Carbide Curved (FDA) | | No |  |
|  | Metzenbum Scissors 7” Tungsten Carbide Curved (FDA) | | No |  |
|  | Metzenbum Scissors 9” Tungsten Carbide Curved (FDA) | | No |  |
|  | Metzenbum Scissors 12” Tungsten Carbide Curved (FDA) | | No |  |
|  | Satinsky Vasular Clamp Small (FDA) | | No |  |
|  | Satinsky Vasular Clamp Medium (FDA) | | No |  |
|  | Satinsky Vasular Clamp Large (FDA) | | No |  |
|  | Debakey Tissue & Organ Grasping Forceps 10” (FDA) | | No |  |
|  | Farabeuf Raspatory Light Curved Sharp 15CM | | No |  |
|  | Doyen Raspotries 6-3/4” Left | | No |  |
|  | Doyen Raspotries 6-3/4” Right | | No |  |
|  | Stille Giertz Rib Shear D/Action 10” (Rib Cutter) FDA | | No |  |
|  | Stille Leur Duckbill Bone Rongeur 8-3/4” 3mm Bite | | No |  |
|  | Stille Leur Duckbill Bone Rongeur 8-3/4” 8mm Bite | | No |  |
|  | Price Thomas First Rib Raspatory | | No |  |
|  | Up-Cut No-3 | | No |  |
|  | Lawrence Forceps Curved With Longitudinal Serration 10.75” (FDA) | | No |  |
|  | Lahey Dissecting Forceps 8” (FDA) | | No |  |
|  | Lahey Dissecting Forceps 10” (FDA) | | No |  |
|  | Lahey Dissecting Forceps 12” (FDA) | | No |  |
|  | Debakey Thoracic Dissecting Forceps Narrow C Curved (45) 8”(FDA) | | No |  |
|  | Debakey Thoracic Dissecting Forceps Narrow C Curved (45) 10-3/4”(FDA) | | No |  |
|  | Halsted Mosquito Artery Forceps Curved 5” | | No |  |
|  | Culler Artery Forceps Curved 6.5 | | No |  |
|  | Rochester-Pean Forceps Curved 8” | | No |  |
|  | Roberts Artery Forceps Large Size | | No |  |
|  | Kocher (Rechoschmer) Forceps Straight 1x2.8” | | No |  |
|  | Bone Cutter | | No |  |
|  | Duval Lung Grafting Forceps 1” Jaws 8” | | No |  |
|  | Duval Lung Grafting Forceps 1” Jaws 9-1/2” | | No |  |
|  | Mayo Hagger needle Holder Tc insert 8” | | No |  |
|  | Mayo Hagger needle Holder Tc insert 10.5” | | No |  |
|  | Mayo Hagger needle Holder Tc insert 12” | | No |  |
|  | New Orleans Needle Holder Tungsten Carbide Tip 8” | | No |  |
|  | Mayo Rabonsen Intestinal Clamp (Non Crushing) | | No |  |
|  | Finocheto Rib Spreader Infant Size (FDA) | | No |  |
|  | Finocheto Rib Spreader Child Size (FDA) | | No |  |
|  | Finocheto Rib Spreader Adult Medium Standerd (FDA) | | No |  |
|  | Finocheto Rib Spreader Adult Large Size (FDA) | | No |  |
|  | Allison Lung Spatola wire made infant Size | | No |  |
|  | Allison Lung Spatola wire made adult Size Small | | No |  |
|  | Tudor Edwards scapula retractor | | No |  |
|  | Weitlaner retractor solid blade 5-1/2” | | No |  |
|  | Langenbeck Retractor Small | | No |  |
|  | Langenbeck Retractor Medium | | No |  |
|  | Morris Retractor 2x2x9” | | No |  |
|  | Deever Retractor 1x12” | | No |  |
|  | Deever Retractor 2x12” | | No |  |
|  | Babcock Forceps 6” | | No |  |
|  | Babcock Forceps 10” | | No |  |
|  | Allies Tissue Forceps 4x5 Size 6” | | No |  |
|  | Allies Tissue Forceps 5x6 Size 10” | | No |  |
|  | Martin Dermal Curette 5.5 4mm & 5mm Oval Cups | | No |  |
|  | Poole Suction Tube Perforated End 14” SS 30FR | | No |  |
|  | Yankaner (SUM) Suction Tube | | No |  |
|  | Bowel SS 4” | | No |  |
|  | Bowel SS 5” | | No |  |
|  | Kidney Tray 8” | | No |  |
|  | Kidney Tray 10” | | No |  |
|  | Basin Solution Deep (Unicef Pattern) 6 Ltr Capacity | | No |  |
|  | Foss Tube Milking Forceps | | No |  |
|  | Instruments Box Perforated With Case Basket Small Size | | No |  |
|  | Instruments Box Perforated With Case Basket Large Size | | No |  |
|  | Self Centering Bone Holding Forceps (Verbrugge Type) 15CM, JAW 2.5mm | | No |  |
|  | Clamshell Bone Holding forceps with thread fixation 18Cm curved | | No |  |
|  | Clamshell Bone Holding forceps with thread fixation 24 Cm curved | | No |  |
|  | Screw Driver | | No |  |
|  | Plate Bone Holding Forceps 5.5” | | No |  |
|  | Farabeat Periosteal Elevator | | No |  |
|  | Penosteal Elevator Heavy Duty Curved | | No |  |
|  | Battery Operated Medical Bone Drill With Spare batteries | | No |  |
| **Dentistry section** | | | | |
|  | Calcium hydroxide based root sealer SEALAPEX | KERR, 2 tube system, 12gmeach. pkt | |  |
|  | Zinc oxide based root canal sealer | PULPDENT, powder liquid system. Pkt. Russia/china | |  |
|  | Cresophene | Liquid , 15 ml. pkt | |  |
|  | Silver alloy powder | Powder , 50gm. Bottle/pkt | |  |
|  | Mercury distilled 99% purified mercury bottle | Liquid bottle 100gm wt | |  |
|  | Amalgam capsules | Capsules, Spill 2, pkt of 50 | |  |
|  | Zonalin( zinc oxide eugenol) cement/ filling | Powder liquid , PKT. China | |  |
|  | Eugenol liquid | Liquid bottle 100ml | |  |
|  | Zinc phosphate cement | Powder liquid pkt . china | |  |
|  | Glassionomer universal cement type II | GC, Japan ,gold label 2 mini, powder liquid PKT . | |  |
|  | Glassionomer cement | SHOFU, CX Hi bond Japan, powder 45gm liquid 25ml PKT. | |  |
|  | Silicate cement | Belacin, Russia, powder liquid . 50gm PKT | |  |
|  | Cemion cement | Powder liquid PKT 20gm, VLADMIVA. russia | |  |
|  | Etchant gel | 1,Tube pkt of 3-5 gm. | |  |
|  | EDTA gel | 1, Tube pkt of wt 5-10gm | |  |
|  | Composite universal restoration **KIT** | clearfill/ Meta bond/FGM, **kit** of tubes ,A1A2,A3,A3.5+etchant+bonding | |  |
|  | Flowable composite tube A2 | Metabond, korea, 1 tube pkt of 2gm. | |  |
|  | Composite Bonding liquid | Coltene, swiss one bond 3ml bottle. | |  |
|  | Composite finishing stone **KIT** | 6-9 Alundum (white) stone burs **kit**, china | |  |
|  | Composite light cure unit | LED, blue light with charger cable + stand. China | |  |
|  | Cellulose strips/ transparent | Pkt of 100s | |  |
|  | Abrasive strips steel | 2-4mm Double sided Pkt of 12 | |  |
|  | Matrix band reel | Reel, 5mm/0.025mm. 1 roll/box. China | |  |
|  | Sectional matrix system | Kit of 30+ pieces+ clamp+ ring. China/ Russia/korea. | |  |
|  | Temporary filling material | Fermin, (Cavit),40-50gm bottle | |  |
|  | Wooden wedges | Assorted sizes, pkt of 30/50 pieces. | |  |
|  | Bonding brushes | Medium ,Pkt of 100, china. | |  |
|  | Hemostatic agent /sol | Aluminum chloride 25% bottle of 15-20 ml. | |  |
|  | Flouride gel | 5% NaF bottle of 100-200 ml/wt | |  |
|  | Dycal paste (setting calcium hydroxide) | 2 tube system, PKT | |  |
|  | Sodium hypochroide5% solution | Bottle of 500 ml bottle | |  |
|  | MTA White (Tehno Dent) | Powder + liquid , Box of 4-5 applications (100gm each mini) | |  |
|  | Disposable dental napkins | 1 pkt of 125 sheet(4 pkts in 1 box 500 pieces china/pakistan | |  |
|  | Sterilization pouches | Medium size, 90mm\*260mm | |  |
|  | Disposable suction tips | Pkt 100 tips. China | |  |
|  | Methylated spirit | 500ml bottle | |  |
|  | Spirit lamp | Glass made. | |  |
|  | Guttapurcha | #20 PKT of 6 small vials | |  |
|  | Guttapurcha | #25 PKT of 6 small vials | |  |
|  | Guttapurcha | #30 PKT of 6 small vials | |  |
|  | Guttapurcha | #35 PKT of 6 small vials | |  |
|  | Guttapurcha | #40 PKT of 6 small vials | |  |
|  | Guttapurcha | #45-80 PKT of 6 small vials | |  |
|  | Guttaparcha for rotary | 4% taper assorted pack,f1,f2,f3 | |  |
|  | Guttaparcha for rotary | 6% taper assorted pack.f1,f2,f3 | |  |
|  | Paper points | #20 Pkt of 6 small vials | |  |
|  | Paper points | #25 Pkt of 6 small vials | |  |
|  | Paper points | #30 Pkt of 6 small vials | |  |
|  | Paper points | #35 Pkt of 6 small vials | |  |
|  | Paper points | #40 Pkt of 6 small vials | |  |
|  | Paper points | #45-80 Pkt of 6 small vials | |  |
|  | K- file 21mm #8 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #10 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #15 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #20 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #25 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #30 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #35 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #40 | China PKT 6 stainless steel files | |  |
|  | K- file 21mm #45-80 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #15 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #20 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #25 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #30 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #35 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #40 | China PKT 6 stainless steel files | |  |
|  | K- file 25mm #45-80 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 15 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 20 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 25 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 30 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 35 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 40 | China PKT 6 stainless steel files | |  |
|  | H- files 21 mm # 45-80 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 15 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 20 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 25 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 30 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 35 | China PKT 6 stainless steel files | |  |
|  | H- files 25 mm # 40 | China PKT 6 stainless steel files | |  |
|  | Hand spreader #15 | China PKT 6 stainless steel files | |  |
|  | Hand spreader # 20 | China PKT 6 stainless steel files | |  |
|  | Hand spreader #25 | China PKT 6 stainless steel files | |  |
|  | Hand spreader #30 | China PKT 6 stainless steel files | |  |
|  | Hand spreader #35 | China PKT 6 stainless steel files | |  |
|  | Hand spreader #40 | China PKT 6 stainless steel files | |  |
|  | Niti files 21mm #15 | China PKT 6 files | |  |
|  | Niti files 21mm #20 | China PKT 6 files | |  |
|  | Niti files 21mm #25 | China PKT 6 files | |  |
|  | Diamond bur SF41 | China ISO Mani blue | |  |
|  | Diamond bur BR31 | China ISO Mani blue | |  |
|  | Diamond bur BR40 | China ISO Mani blue | |  |
|  | Diamond bur TR12 | China ISO Mani blue | |  |
|  | Diamond bur FO32 | China ISO Mani blue | |  |
|  | Diamond bur SI 46 | China ISO Mani blue | |  |
|  | Tofflemire retainer | Metal export quality | |  |
|  | Endo gauge rings | Metal export quality | |  |
|  | Dippin glass | Glass . export quality | |  |
|  | Examination dental set (mirror+tweezer+probe) | Metal . export quality | |  |
|  | Mirror tops #5 plain | Export quality | |  |
|  | Excavators spoon shape double sided | Export | |  |
|  | Burnisher ball & T ball double sided | Export quality | |  |
|  | Burnisher double sided acorn shape | Export quality | |  |
|  | Dental carver PK tomes | Double sided, export quality | |  |
|  | Dental amalgam Condensers | Double sided , export quality | |  |
|  | MTA carrier gun | Export quality | |  |
|  | Mixing spatula | Double sided , export quality | |  |
|  | Plastic instrument | Double sided , export quality | |  |
|  | DG 16 | Double sided , export quality | |  |
|  | Hand plugger set | Double sided , export quality | |  |
|  | Micro surgery dental kit , with cassette | Export quality | |  |
|  | Rubber dam kit | Metal, clamps (6-8), forceps , punch, sheets in kit . export | |  |
|  | Gingival marginal trimmer set /pair | Double sided , export quality | |  |
|  | Fiber reinforced post kit | Kit. Post drills, assorted size posts. China/ Russia/ swiss. | |  |
|  | Metal post kit | Kit with keys and assorted size posts. | |  |
|  | Gingival retraction cord. | Size #1. China/ russia/ swiss | |  |
|  | Finger plugger set | Assorted. china | |  |
|  | Universal dentinal sealant | 1Tube pkt. | |  |
|  | Dycal applicator | Double sided , export quality | |  |
|  | Amalgam finishing kit | Burs, cups set. | |  |
|  | Silk suture 3-0,1/2 circle | 3-0,1/2 circle pkt . 1 | |  |
|  | Instrument trolley | Export quality | |  |
|  | Gate glidden drills GG | Set 1-6. 28mm pkt | |  |
|  | Peaso reamers | Set 1-6. 28mm pkt | |  |
|  | Bead for bead sterilizer | Beads pkt | |  |
|  | Needle holder | Export quality | |  |
|  | Artery forcep | Export quality | |  |
|  | High speed hand piece | 4 hole, push button, woodpecker, NSK, Russia. | |  |
|  | Slow speed hand piece | 4 hole , kit with straight and contra-angle. NSK, | |  |
|  | Endo motor | Model: Endo gold, woodpecker china. | |  |
|  | Apex locater | Model : Woodpecker CVV | |  |
|  | Rotary files | 21 mm , one file system, Fanta. Assorted sizes. Pkt | |  |
|  | Rotary files | 25 mm , one file system, Fanta. Assorted sizes. Pkt | |  |
|  | Ultra sonic irrigation system | Model: Endo-1, woodpecker,eigthteeth. | |  |
|  | Dental handpiece oil | 250ml bottle. | |  |
|  | Rubber dam sheets | Green medium size | |  |
|  | Urine specimen bottle |  | |  |
|  | Barrier film roll |  | |  |
|  | Round surgical burs | Stainless steel | |  |
|  | Surgical tapper fissure burs | Stainless steel | |  |
|  | Needle holder | 6 inch | |  |
|  | Needle holder | 9 inch | |  |
|  | Upper & lower peadriatic extraction forceps |  | |  |
|  | Tissue forceps | Plane Addison | |  |
|  | Tissue forceps | Toothed Addison | |  |
|  | Tissue forceps | Plane 6 inches narrow beaks | |  |
|  | Tissue forceps | Toothed 6 inches narrow beaks | |  |
|  | Straight elevator | Small/medium/large assorted | |  |
|  | Bone file |  | |  |
|  | Bone cutter |  | |  |
|  | Arch bars |  | |  |
|  | BP handle | 7 size | |  |
|  | Wire cutter |  | |  |
|  | Scalars Machine | Wood picker Made in China | |  |
|  | Scalars Machine tips | Pack of 5 | |  |
|  | Mandibular Incisor extraction forceps |  | |  |
|  | Mandibular premolar extraction forceps |  | |  |
|  | Mandibular molar extraction forceps |  | |  |
|  | Maxillary Central Incisor forceps |  | |  |
|  | Maxillary Premolar extraction forceps |  | |  |
|  | Maxillary Molar forceps |  | |  |
|  | Periosteal elevators | Molt | |  |
|  | Straight elevators | Pack of 3 S/M/L | |  |
|  | Crayers | Left and right | |  |
|  | Crossbars | Left and right | |  |
|  | Instruments trays | 12/6 inch size with top cover | |  |
|  | Chisel | Assorted | |  |
|  | Suture cutting scissors |  | |  |
|  | Dissecting scissors | T/C 6 Inch and 9 inch | |  |
|  | Kidney trays |  | |  |
|  | Surgical Awl | Mandibular/Maxillary | |  |
|  | Mouth gage | Molt | |  |
|  | Mouth gage | Roser-koning | |  |
|  | Mouth props | asorted | |  |
|  | Stainless steel wire | 0.45 size | |  |
|  | Complete set of orthgnathic surgery |  | |  |
|  | Bristo elevator |  | |  |
|  | Goldman-Fox/willaimprob | Export quality | |  |
|  | NaberProb/Furcation prob color coded | Export quality | |  |
|  | Papilla elevator-periosteal elevator | Export quality | |  |
|  | Prichard periosteal elevator | Export quality | |  |
|  | Gracey Curettes | Export quality | |  |
|  | Universal Curette | Export quality | |  |
|  | Prichard periodontal surgical curette | Export quality | |  |
|  | Furcation Curette | Export quality | |  |
|  | Ultrasonic scalar USD-A WoodPacker | USD-A with LED woodpacker | |  |
|  | Coe-Pakkperiodonatal dressing (90gm base+90gm catalyst) | GC Japan | |  |
|  | Rhodes Back Action Periodontal chisel | Export quality | |  |
|  | Suture forceps | Export quality | |  |
|  | Shraight Castroviejo perma sharp Needle holder 7” | Export quality | |  |
|  | Mayo-hegarperma sharp needle holder 16cm | Export quality | |  |
|  | Delicate scissors Goldman fox | Export quality or local | |  |
|  | Polishing brush pkt of 100 pieces | Packet of 100 | |  |

**DY Director (EM)**