**Mandatory Criteria**

Bidders must give compliance to the below mentioned clauses as these are mandatory tobeing Eligible for the bidding process. Relevant certificates / documents must be attached.

|  |  |  |
| --- | --- | --- |
| **S #** | **Description** | **Remarks** |
|  | The bidder shall be Registered with **FBR for Income Tax andSales Tax** and reflected on Active Tax Payer List (**ATL**);  (Provide copy of relevant certificates) | Mandatory |
|  | Manufacturer / Authorized Dealer / General Order Supplier  (Provide the copy of valid relevant document) | Mandatory |
|  | Bidder must have experience of at least Three (03) differentTeaching Level Hospitals in KPKGovt/Arm Forces for supplying Surgical Instruments in last 5 years.  **Note: Bidder Must attached Purchase Orders** | Mandatory |
|  | The firm/bidder should/must provide thewarranty for the period of01 year of all the quoted items. | Mandatory |
|  | Products that fully comply with the advertised specifications will be considered for sample evaluation. The end-user may request any surgical instrument or complete set for sample evaluation. Inspection remarks will be provided after;  **Sterilization Compatibility:**  **Heat Resistance**: Verify that the instrument can withstand repeated sterilization cycles (e.g., in autoclaves or CSSD processes) without degrading.  **Chemical Resistance**: Ensure the instrument does not react adversely to cleaning agents or sterilizing chemicals.  **Cycle Testing**: Subject the instrument to at least 10 sterilization cycles in the Auto clave and inspect for any signs of wear, corrosion, or mechanical failure.  **24-Hour Water Depth Test:**   * Assess **material resistance to prolonged water exposure.** * Check for **slow leakage or micro-perforations** that might not be visible in short-duration tests. * Evaluate **corrosion resistance** especially for instruments with complex joints or coated surfaces. * Validate **long-term immersion durability** in line with sterilization and usage cycles. | Mandatory |
|  | Submission of undertaking on legal valid and attested stamp paperthat the firm is ***NOT BLACKLISTED*** by any of Provincial orFederal Government Department, Agency, Organization orautonomous body anywhere in Pakistan. | Mandatory |
|  | Bid security Shall be attached as mentioned in the  advertisement/BSD | Mandatory |
|  | Turnover in Millions:  Audit Report/IT/ST Returns Should be attached 50 million or above | Mandatory |
|  | **ISO certification of the manufacturer**  Valid ISO 9001 Quality ManagementSystems | Mandatory |
|  | **Quality Standards Compliance**  US FDA (US Food and Drug Administration)  **OR**CE(MDR) European Community (CE) MDR / MDD | Mandatory |
|  | Last Year Audit Report & Bank Statement | Mandatory |
|  | Certificate of CDR amount in financial Bid | Mandatory |
|  | KPRA registration | Mandatory |