**ENT SURGERY**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **RHINOPLASTY SET (POLYPECTOMY SET**  ***SET CONSISTS OF:*** | |
| 1 | CONTAINER 11" X 13" | 1 |
| 2 | KILLIAN NASAL SPECULA 50MM FIG. 2 | 1 |
| 3 | KILLIAN NASAL SPECULA 75MM FIG. 3 | 1 |
| 4 | KILLIAN NASAL SPECULA 90MM FIG. 4 | 1 |
| 5 | JOSEPH ELEVATOR 4MM 16CM / 6 1/4" | 1 |
| 6 | MALTZ RASPS WITH T/C 17.5CM / 6 3/4" FIG. 1 | 1 |
| 7 | MALTZ RASPS WITH T/C 17.5CM / 6 3/4" FIG. 2 | 1 |
| 8 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 1 |
| 9 | HOWARTH ELEVATOR 21.5CM / 8 1/2" | 1 |
| 10 | COTTLE CHISEL 4MM 18CM / 7" | 1 |
| 11 | COTTLE CHISEL 7MM 18CM / 7" | 1 |
| 12 | COTTLE CHISEL 9MM 18CM / 7" | 1 |
| 13 | SILVER NASAL CHISEL LEFT | 1 |
| 14 | SILVER NASAL CHISEL RIGHT | 1 |
| 15 | SILVER NASAL CHISEL STRAIGHT | 1 |
| 16 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 2 LEFT | 1 |
| 17 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 3 RIGHT | 1 |
| 18 | MIDDLETON-JANSEN SEPTUM FCP 19CM / 7 1/2" | 1 |
| 19 | JOSEPH NASAL SAW LEFT 19CM / 7 1/2" | 1 |
| 20 | JOSEPH NASAL SAW RIGHT 19CM / 7 1/2" | 1 |
| 21 | COTTLE HOOK 14.5CM / 5 3/4" | 1 |
| 22 | COTTLE HOOK 14.5CM / 5 3/4" LEFT BULB | 1 |
| 23 | COTTLE HOOK 14.5CM / 5 3/4" RIGHT BULB | 1 |
| 24 | COTTLE ALAR PROTECTOR 150MM | 1 |
| 25 | COTTLE ELEVATOR 23CM / 9" D/E | 1 |
| 26 | COTTLE COLUMELLA FCP 10CM / 4" | 1 |
| 27 | COTTLE BONE MALLET 30MM / 350G 19CM / 7 1/2" | 1 |
| 28 | COTTLE HOOK 15CM / 6" | 1 |
| 29 | AUFRICHT RETRACTOR 16CM / 6 1/4" | 1 |
| 30 | GILLIES NERVE HOOK ( FIG. 1 ) 18CM/7" | 1 |
| 31 | ADSON BROWN TISSUE FCP 12CM/4 3/4" | 1 |
| 32 | GIERTZ-STILLE RIB SHEAR 27CM / 10 1/2" | 1 |
| 33 | DOYEN RASPATORY 17CM / 6 3/4" ADULT | 1 |
| 34 | DOYEN RASPATORY 17CM / 6 3/4" ADULT | 1 |
| 35 | MOD.USA GOUGE 6MM 16CM / 6 1/4" | 1 |
| 36 | MOD.USA GOUGE 12MM 16CM / 6 1/4" | 1 |
| 37 | STILLE BONE OSTEOTOME 10MM STR 20CM/8" | 1 |
| 38 | SEMB BONE HOLDING FCP 19CM / 7 1/2" | 1 |
| 39 | STEVEN TENOTOMY EYE SCISSOR POINTED STR 11.5CM/4 1/2" | 1 |
| 40 | STEVEN TENOTOMY EYE SCISSOR POINTED CVD 10.5CM/4 1/4" | 1 |
| 41 | METZENBAUM SCISSOR STR BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 42 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 43 | HALSEY NEEDLE HOLDER T/C 13CM/5" SERR | 1 |
| 44 | SCALPEL HANDLE NO. 3 | 1 |
| 45 | FERGUSSON SUCTION TUBE 17CM 6FIG | 1 |
| 46 | FERGUSSON SUCTION TUBE 17CM 8FIG | 1 |
| 47 | FERGUSSON SUCTION TUBE 17CM 10FIG | 1 |
| 48 | FERGUSSON SUCTION TUBE 17CM 12FIG | 1 |
| 49 | FERGUSSON SUCTION TUBE 17CM 14FIG | 1 |
| 50 | SILVER OSTEOTOME RIGHT CURVED 7 X 175MM | 1 |
| 51 | SILVER OSTEOTOME LEFT CURVED 7 X 175MM | 1 |
| 52 | SILVER OSTEOTOME STRAIGHT 7 X 175MM | 1 |

|  |  |  |
| --- | --- | --- |
| **.No** | **Offered Specification** | **QTY.** |
|  | **TYMPANOPLASTY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | CONTAINER 11" X 13" | 1 |
| 2 | SCALPEL HANDLE NO. 4 | 1 |
| 3 | GRUBER EAR SPECULA FIG. 3 | 1 |
| 4 | GRUBER EAR SPECULA FIG. 4 | 1 |
| 5 | FARRELL COTTON APPLICATOR (0.9MM) TRIANGULAR 14CM/5 1/2" | 1 |
| 6 | GROSS EAR HOOK 12CM / 4 3/4" | 1 |
| 7 | SCHUKNECHT MICRO KNIFE | 1 |
| 8 | HARTMANN EAR POLYPUS FCP 8.5CM / 3 1/4" | 1 |
| 9 | STRUMPEL EAR POLYPUS FCP 8.5CM / 3 1/4" | 1 |
| 10 | MICRO EAR FCP 1.6 X 7MM 8CM / 3 1/4" | 1 |
| 11 | HARTMANN EAR POLYPUS FCP 1 X 2TH 8.5CM / 3 1/4" | 1 |
| 12 | HARTMANN CROCODILE FORCEPS 2.5MM CUP, 75MM | 1 |
| 13 | COLLIER MORRIS CURRETTE 3 X 4MM | 1 |
| 14 | LAKE DOUBLE ENDED SEEKER 184MM | 1 |
| 15 | KING VEIN GRAFT PRESS FORCEPS 20MM | 1 |
| 16 | MICRO EAR FCP 0.8 X 4MM 8CM / 3 1/4" | 1 |
| 17 | MICRO EAR FCP MINI 0.7 X 3.5MM 8CM / 3 1/4" | 1 |
| 18 | MICRO EAR FCP CUP SHAPED 0.9 X 1.1MM 8CM / 3 1/4" | 1 |
| 19 | PLESTER MICRO KNIFE | 1 |
| 20 | PLESTER MICRO KNIFE | 1 |
| 21 | LEMPERT BONE RONGEUR STR 16CM / 6 1/4" | 1 |
| 22 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 1 |
| 23 | THORBURN SICKLE KNIFE SMALL D/E 165MM | 1 |
| 24 | MOLLISON RETRACTOR 15CM /6" | 1 |
| 25 | PLESTER RETRACTOR 13CM / 5" SHARP LEFT | 1 |
| 26 | WEITLANER-WULLSTEIN RETRACTOR 13CM /5" SHARP ( 3X3TH ) | 1 |
| 27 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 1 |
| 28 | MICRO-ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 29 | MICRO-ADSON DRESSING FCP 12CM/4 3/4" | 1 |
| 30 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 31 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 32 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 33 | PLESTER SUCTION TUBE 1.5MM - 19.5CM/7 3/4" | 1 |
| 34 | BARON( SCHUKNECHT) SUCTION TUBE 1 X 75MM | 1 |
| a | BARON( SCHUKNECHT) SUCTION TUBE 1.5 X 75MM | 1 |
| b | BARON( SCHUKNECHT) SUCTION TUBE 2 X 75MM | 1 |
| 35 | DE-BAKEY NEEDLE HOLDER T/C 18CM/7" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **SMR SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | CONTAINER 11" X 13" | 1 |
| 2 | KILLIAN NASAL SPECULA 50MM FIG. 2 | 1 |
| 3 | KILLIAN NASAL SPECULA 75MM FIG. 3 | 1 |
| 4 | KILLIAN NASAL SPECULA 90MM FIG. 4 | 1 |
| 5 | HARTMANN NASAL SPECULA 15CM / 6" FIG. 1 | 1 |
| 6 | THUDICUM NASAL SPECULA FIG. 7 | 1 |
| 7 | LUC'S NASAL TURB FORCEPS Hrt SHAPED MED. | 1 |
| 8 | LUC'S NASAL TURB FORCEPS Hrt SHAPED 6MM | 1 |
| 9 | LUC'S NASAL TURB FORCEPS Hrt SHAPED 7.5MM | 1 |
| 10 | LUC'S NASAL TURB FORCEPS Hrt SHAPED 9MM | 1 |
| 11 | SCALPEL HANDLE NO. 3 | 1 |
| 12 | FREER-YASARGIL ELEVATOR SHARP/BLUNT 18.5CM / 7 1/4" | 1 |
| 13 | HEYMANN SCISSOR SUPERCUT SAW EDGE 18CM/7" | 1 |
| 14 | TILLEY EAR FCP 16CM / 6 1/4" | 1 |
| 15 | LUC'S NON CUTTING FORCEPS | 1 |
| 16 | LUC'S CUTTING FORCEPS | 1 |
| 17 | MAYO-HEGAR NEEDLE HOLDER 18CM/7" | 1 |
| 18 | JOSEPH ELEVATOR 4MM 16CM / 6 1/4" | 1 |
| 19 | MALTZ RASPS WITH T/C 17.5CM / 6 3/4" FIG. 1 | 1 |
| 20 | KILLAIN GOUGE 16CM / 6 1/4" | 1 |
| 21 | LUCAE BONE MALLET 19MM/230G 19CM / 7 1/2" FIG. 1 | 1 |
| 22 | LISTER BANDAGE SCISSOR 14CM/5 1/2" | 1 |
| 23 | MIDDLETON-JANSEN SEPTUM FCP 19CM / 7 1/2" | 1 |
| 24 | WATSON-WILLIAMS NASAL SEPTUM FCP 19CM / 7 1/2" FIG. 2 | 1 |
| 25 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 26 | FRAZIER SUCTION TUBE 17CM 6FIG | 1 |
| 27 | AUFRICHT RETRACTOR 16CM / 6 1/4" | 1 |
| 28 | FOMEN OSTEOTOME RIGHT | 1 |
|  | FOMEN OSTEOTOME LEFT | 1 |
| 29 | COTTLE CHISEL 9MM 18CM / 7" | 1 |
| 30 | ASCH SEPTUM FCP 23CM / 9" | 1 |
| 31 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 1 | 1 |
| 32 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 2 LEFT | 1 |
| 33 | OCHSNER TROCAR 14.5CM/5 1/2" ( DIA 4.0 MM ) | 1 |
| 34 | MYLES NASAL CUTTING FCP FIG. 1 | 1 |
| 35 | BALLENGER SEPTUM KNIFE 3MM 20CM / 8" | 1 |
| 36 | TILLY'S NASAL DRESSING FORCEPS | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **TONSILLECTOMY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | BOX 11" X 13" | 1 |
| 2 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 3 | BACKHAUS TOWEL FCP 13CM/5" | 1 |
| 4 | RAMPLEY SPONGE HOLDING FORCEPS 10" | 1 |
| 5 | JENNING MOUTH GAG 11CM / 4 1/4" | 1 |
| 6 | YANKAUER SUCTION TUBE 27CM | 1 |
| 7 | DANIS BROWN TONSIL HOLDING FORCEPS | 1 |
| 8 | GYNE EVAN ELEVATOR | 1 |
| 9 | BRIKETT A/FCP STR 19CM/7 1/2" | 1 |
| 10 | BRIKETT A/ FCP CVD 19CM/7 1/2" | 1 |
| 11 | HURD TONSIL ELEVATOR 22.5CM / 9" | 1 |
| 12 | BRUENING TONSIL SNARE 28M / 11" | 1 |
| 13 | ENTEROTOMY SCISSOR 21CM/8 1/4" | 1 |
| 14 | NEGUS TONSIL FCP CVD 19CM/7 1/2" | 1 |
| 15 | NEGUS TONSIL FCP STRONG CVD 19CM/7 1/2" | 1 |
| 16 | MAYO-HEGAR NEEDLE HOLDER 18CM/7" | 1 |
| 17 | DESCHAMPS NEEDLE FINE (BLUNT) LEFT 20CM/8" | 1 |
| 18 | KNOT TIER 23CM/9" | 1 |
| 19 | BECKMANN ADONOID CURETTE 22CM / 8 3/4" FIG. 4 | 1 |
| 20 | ST. CLAIR. THOMSON ADONOID CURETTE 22CM / 8 1/4" FIG. 1 | 1 |
| 21 | ST. CLAIR. THOMSON ADONOID CURETTE 22CM / 8 1/4" FIG. 2 | 1 |
| 22 | ST. CLAIR. THOMSON ADONOID CURETTE 22CM / 8 1/4" FIG. 3 | 1 |
| 23 | DAVIS-BOYLE MOUTH GAG ONLY | 1 |
| 24 | DAVIS-BOYLE MOUTH GAG ONLY | 1 |
| 25 | KILNER-DOUGHTY MOUTH GAG BLADE 65 X 28MM FIG. 1 | 1 |
| 26 | KILNER-DOUGHTY MOUTH GAG BLADE 75 X 32MM FIG. 2 | 1 |
| 27 | KILNER-DOUGHTY MOUTH GAG BLADE 80 X 37MM FIG. 3 | 1 |
| 28 | DOUGHTY TONGUE PLATE 102MM | 1 |
| 29 | DOUGHTY LUER TRACHEOSTOMY TUBE NICKLE TONGUE 114MM | 1 |
| 30 | DRAFFIN MAGURAN PLATE ONLY | 1 |
| 31 | DRAFFIN MAGURAN COMPLETE WITH 4 RINGS 42.5CM/17" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **STAPEDECTOMY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | GRUBER EAR SPECULA 4.5MM FIG. 1 | 1 |
| a | GRUBER EAR SPECULA 5MM FIG. 2 | 1 |
| b | GRUBER EAR SPECULA 5.5MM FIG. 3 | 1 |
| c | GRUBER EAR SPECULA 6MM FIG. 4 | 1 |
| 2 | SIEGLE OTOSCOPE WITH 3 EAR SPECULA AND RUBBER TUBE WITH BULB | 1 |
| 3 | HARTMANN EAR SPECULA CHILD SET OF 3 FIG. 2 - 4 | 1 |
| 4 | FARRELL COTTON APPLICATOR (0.9MM) TRIANGULAR 14CM/5 1/2" | 1 |
| 5 | FARRELL COTTON APPLICATOR (1.5MM) TRIANGULAR 18CM/7" | 1 |
| 6 | FARRELL COTTON APPLICATOR (1.1MM) TRIANGULAR 16CM/6 1/4" | 1 |
| 7 | FARRELL COTTON APPLICATOR (1.1MM) ROUND 16CM/6 1/4" | 1 |
| 8 | BUCKINGHAM CURETTE | 1 |
| 9 | JANSEN ( GRUENWALD ) NASAL DRESSING FCP 16CM/6 1/4" | 1 |
| 10 | HARTMANN MICRO EAR FORCEPS SERR 7 X 85MM, BLACK | 1 |
| 11 | ORMERED AURAL FORCEPS EXT. FINE BLACK 70MM | 1 |
| 12 | MAWSON ENDURAL RETRACTOR 3X3 PR. SHARP 12.5CM BLACK | 1 |
| 13 | BELUCCI PLESTER RETRACTOR 13CM / 5" BLUNT | 1 |
| 14 | BELUCCI PLESTER RETRACTOR 13CM /5" | 1 |
| 15 | HARTMANN-WULLSTEIN EAR POLYPUS FCP 1.8 X 8MM 8.5CM / 3 1/4" | 1 |
| 16 | MC GEE WIRE CLOSURE FCP 8CM / 3 1/4" | 1 |
| 17 | DIETER MICRO EAR FCP UPWARD CUTTING 8CM / 3 1/4" | 1 |
| 18 | SHEA MICRO EAR POLYPUS SCISS 7MM 8CM / 3 1/4" | 1 |
| 19 | SHEA INCISING KNIFE ANGULAR SHAFT BLACK 17CM | 1 |
| 20 | HOUSE CUT PUT ADAPTOR FOR USE W/ VERHOEVEN | 1 |
| 21 | ROSEN ASPIRATION TUBE 2.1MM | 1 |
| 22 | ROSEN ASPIRATION TUBE 1.8MM | 1 |
| 23 | ROSEN ASPIRATION TUBE 1.5MM | 1 |
| 24 | ROSEN ASPIRATION TUBE 1.4MM | 1 |
| 25 | ROSEN ASPIRATION TUBE 1.2MM | 1 |
| 26 | ROSEN ASPIRATION TUBE 1.0MM | 1 |
| 27 | ROSEN ASPIRATION TUBE 0.9MM | 1 |
| 28 | ROSEN ASPIRATION TUBE 0.7MM | 1 |
| 29 | ROSEN ASPIRATION TUBE 0.6MM | 1 |
| 30 | ROSEN ASPIRATION TUBE 0.45MM | 1 |
| 31 | HOUSE SUCTION TUBE 0.9MM | 1 |
| 32 | FRAZIER SUCTION TUBE 17CM 6FIG | 1 |
| 33 | WEITLANER RETRACTOR 16.5CM / 6 1/2" SHARP (3X4 TH) | 1 |
| 34 | HARTMANN EAR POLYPUS FCP 8.5CM / 3 1/4" | 1 |
| 35 | MICRO EAR FCP 0.3MM 8CM / 3 1/4" STR | 1 |
| 36 | ROSEN MICRO NEEDLE | 1 |
| 37 | HOUSE CURETTE 4MM | 1 |
| 38 | BARBARA MICRO HOOK 90º 1MM | 1 |
| 39 | BARBARA MICRO HOOK 90º 1.2MM | 1 |
| 40 | HOUSE DE SOURDILLE CALIPER 15MM | 1 |
| 41 | HOUSE CURETTE 3.5MM | 1 |
| 42 | HOUSE CURETTE 1 X 1.2MM 15CM / 6" | 1 |
| 43 | HOUSE CURETTE 1.5 X 1.8MM 15CM / 6" | 1 |
| 44 | HOUSE CURETTE 1.5 X 1.8MM 15CM / 6" | 1 |
| 45 | POLITZER EAR KNIFE 16.5CM / 6 1/2" | 1 |
| 46 | SICKLE KNIFE MICRO ANGLED UP 24CM / 9 1/2" | 1 |
| 47 | ROSEN MICRO NEEDLE 25º 0.6MM | 1 |
| 48 | ROSEN MICRO KNIFE 1.6MM | 1 |
| 49 | BARBARA MICRO HOOK 90º 1MM | 1 |
| 50 | ROSEN MICRO KNIFE 2MM | 1 |
| 51 | MICRO STERILIZING COTAINER PERFORATED 400 X 200 X 90MM | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **TRACHEOSTOMY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | BOX 11" X 13" | 1 |
| 2 | LUER TRACHEOSTOMY TUBE NICKLE 24Fr | 1 |
| 3 | LUER TRACHEOSTOMY TUBE NICKLE 26Fr | 1 |
| 4 | LUER TRACHEOSTOMY TUBE NICKLE 28Fr | 1 |
| 5 | LUER TRACHEOSTOMY TUBE NICKLE 30Fr | 1 |
| 6 | LUER TRACHEOSTOMY TUBE NICKLE 34Fr | 1 |
| 7 | LUER TRACHEOSTOMY TUBE NICKLE 36Fr | 1 |
| 8 | LUER TRACHEOSTOMY TUBE NICKLE 38Fr | 1 |
| 9 | SCALPEL HANDLE NO. 4 | 1 |
| 10 | SCALPEL HANDLE NO. 3 | 1 |
| 11 | OPERATING SCISSOR STR (FIG. 2) 13CM/5" SH/BL | 1 |
| 12 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 13 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (22X6MM) | 1 |
| 14 | FRAIZER NERVE HOOK SHARP 13CM/5" | 1 |
| 15 | TROUSSEAU DILATORS 14CM / 5 1/2" | 1 |
| 16 | ADSON ARTERY FORCEPS STRAIGHT 180MM | 1 |
| 17 | ADSON ARTERY FORCEPS CURVED 180MM | 1 |
| 18 | DE-BAKEY NEEDLE HOLDER T/C 18CM/7" | 1 |
| 19 | DE-BAKEY NEEDLE HOLDER T/C 23CM/9" | 1 |
| 20 | LITTLEWOOD INTESTINAL TISSUE FCP 18.5CM / 7 1/4" | 1 |
| 21 | CRILE NERVE HOOK 20CM/8" | 1 |
| 22 | SENN-MULLER RETRACTOR BLUNT 16CM / 6 1/4" | 1 |
| 23 | CUSHING TISSUE FCP 17.5CM/7" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **MASTOIDECTOMY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | CONTAINER 11" X 13" | 1 |
| 2 | HARTMANN EAR SPECULA BABY 2MM FIG. 1 | 1 |
| 3 | HARTMANN EAR SPECULA CHILD 3MM FIG. 2 | 1 |
| 4 | HARTMANN EAR SPECULA CHILD 4MM FIG. 3 | 1 |
| 5 | HARTMANN EAR SPECULA CHILD 5.5MM FIG. 4 | 1 |
| 6 | HARTMANN EAR SPECULUM 6MM | 1 |
| 7 | HARTMANN EAR SPECULA ADULT 7.5MM FIG. 6 | 1 |
| 8 | TOYNBEE EAR SPECULA ADULT FIG. 4 | 1 |
| 9 | SCALPEL HANDLE NO. 4 | 1 |
| 10 | MOLLISON RETRACTOR 15CM /6" | 1 |
| 11 | PLESTER RETRACTOR 13CM / 5" SHARP LEFT | 1 |
| 12 | WEITLANER-WULLSTEIN RETRACTOR 13CM /5" BLUNT ( 3X3TH ) | 1 |
| 13 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 1 |
| 14 | MICRO-ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 15 | MICRO-ADSON DRESSING FCP 12CM/4 3/4" | 1 |
| 16 | OPERATING SCISSOR STR (FIG. 2) 13CM/5" SH/BL | 1 |
| 17 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 18 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 19 | PLESTER SUCTION TUBE 1.5MM - 19.5CM/7 3/4" | 1 |
| 20 | BELLUCI SUCTION SET OF 3 | 1 |
| a | BARON( SCHUKNECHT) SUCTION TUBE 1 X 75MM | 1 |
| b | BARON( SCHUKNECHT) SUCTION TUBE 1.5 X 75MM | 1 |
| c | BARON( SCHUKNECHT) SUCTION TUBE 2 X 75MM | 1 |
| 21 | TOWEL FPCS WITH CLIP 11CM/4 1/2" | 1 |
| 22 | BACKHAUS TOWEL FCP 13CM/5" | 1 |
| 23 | RAMPLEY SPONGE HOLDING FCP 24CM/9 1/2" | 1 |
| 24 | BARUN DECAPITAITING HOOK 30CM / 12" | 1 |
| 25 | KILNER NERVE HOOK 15CM/6" | 1 |
| 26 | GILLIES TISSUE FCP ( 1X2 TH ) 15CM/6" | 1 |
| 27 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 28 | MCINDOE DRESSING FCP 15CM/6" | 1 |
| 29 | JOBSON-HORNE COTTON APPLICATOR 13CM/5" | 1 |
| 30 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 1 |
| 31 | LEMPERT BONE RONGEUR CVD 16CM / 6 1/4" | 1 |
| 32 | LEMPERT BONE RONGEUR CVD 19CM / 7 1/2" | 1 |
| 33 | TILLEY AURAL FORCEPS 140MM | 1 |
| 34 | PARTSCH BONE CHISEL 3MM 17CM / 6 3/4" | 1 |
| 35 | PARTSCH BONE CHISEL 4MM 17CM / 6 3/4" | 1 |
| 36 | FICKLING ORAL ANGLED FORCEPS 178MM | 1 |
| 37 | CLAMP FICKLING ANGULAR SIDE 178MM | 1 |
| 38 | RUSKIN BONE RONGEUR CVD 18CM / 7" D/A | 1 |
| 39 | ADSON SUCTION TUBE 21CM / 8 1/4" ( 4MM ) | 1 |
| 40 | ADSON FREER/ Plester SUCTION TUBE 200 MM | 1 |
| 41 | MALLET FICKLING 192GMS | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **NASAL POLYPECTOMY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | THUDICHUM NASAL SPECULUM (GOLDSMITH) SET OF 5 | 1 |
| 2 | TILLEY EAR FCP 16CM / 6 1/4" | 1 |
| 3 | LUC NASAL CUTTING FORCEPS FIG. 1, 20CM | 2 |
| 4 | LUC NASAL CUTTING FORCEPS FIG. 2, 20CM | 2 |
| 5 | TILLEY EAR FCP 16CM / 6 1/4" | 1 |
| 6 | KRAUSE NASAL SNARE 26CM / 10 1/4" | 1 |
| 7 | MAGILL SUCTION TUBE FIG. 1 | 1 |
| 8 | MAGILL SUCTION TUBE FIG. 2 | 1 |
| 9 | MAGILL SUCTION TUBE FIG. 3 | 1 |
| 10 | MAGILL SUCTION TUBE ID, 2.5MM, OD, 4.5MM | 1 |
| 11 | HEYMANN NASAL SCISSOR 18CM/7" | 1 |
| 12 | BACKHAUS TOWEL FCP 11CM/41/2" | 4 |
| 13 | TRAY KIDNEY 200 X 35MM | 1 |
| 14 | GALIPOT 3, OZ, 58 X 40MM | 1 |
| 15 | TRAY INSTRUMENT W/COVER 300 X 175 X 40MM | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **OESOPHAGOSCOPE RIGID SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | esophagoscopeΦ9.0×13×250 | 1 |
| 2 | esophagoscopeΦ10.0×14×300 | 1 |
| 3 | esophagoscopeΦ11.0×15×350 | 1 |
| 4 | esophagoscopeΦ12.0×16×380 | 1 |
| 5 | esophagoscopeΦ13.0×17×400 | 1 |
| 6 | handle | 1 |
| 7 | duck-mouth forcepsΦ4.0 × 450 | 1 |
| 8 | cup-shaped forcepsΦ4.0 × 450 | 1 |
| 9 | alligator forcepsΦ4.0 × 450 | 1 |
| 10 | grasping forcepsΦ4.0 × 450 | 1 |
| 11 | suction tubeΦ2.5 × 450 | 1 |
| 12 | suction tubeΦ3.0 × 450 | 1 |
| 13 | suction tubeΦ4.0 × 450 | 1 |
| 14 | fiber optic light cableΦ4 × 1800 | **1** |
| 15 | sterilization case | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **RIGID BRONCHOSCOPE** | 1 |
|  | **CONSISTS OF:-** |  |
| 1 | bronchoscopeΦ4 × 260/fiber | 1 |
| 2 | bronchoscopeΦ4.5 × 280/fiber | 1 |
| 3 | bronchoscopeΦ5.0 × 280/fiber | 1 |
| 4 | bronchoscopeΦ5.5 × 300/fiber | 1 |
| 5 | bronchoscopeΦ6.0 × 300/fiber | 1 |
| 6 | foreign body forcepsΦ2.0 × 360 | 1 |
| 7 | grasping forcepsΦ2.0 × 360/duck-jaws | 1 |
| 8 | grasping forcepsΦ2.0 × 360 | 1 |
| 9 | suction tubeΦ3.0 × 320 | 1 |
| 10 | suction tubeΦ4.0 × 320 | 1 |
| 11 | suction tubeΦ4.0 × 320 | 1 |
| 12 | fiber optic light cableΦ4 × 1800 | 1 |
| 13 | sterilization case | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **OPERATING / DIRECT LARYNGOSCOPE SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | OPERATING LARYNGOSCOPE ADULT 18CM FIBER OPTIC | 1 |
| 2 | OPERATING LARYNGOSCOPE ADULT MEDIUM 18CM F.O | 1 |
| 3 | OPERATING LARYNGOSCOPE ADULT SMALL 18CM | 1 |
| 4 | OPERATING LARYNGOSCOPE CHILD 13CM | 1 |
| 5 | LIGHT GUIDE FOR USE WITH OP292, OP293 & OP294 SPARE | 1 |
| 6 | LIGHT GUIDE FOR USE WITH OP295 (SPARE) FIBER OPTIC | 1 |
| 7 | MICRO LARYNGEAL FORCEPS STR SERR 25CM | 1 |
| 8 | MICRO LARYNGEAL FORCEPS CVD / LEFT SERR 25CM | 1 |
| 9 | MICRO LARYNGEAL FORCEPS CVD / RIGHT SERR 25CM | 1 |
| 10 | MICRO LARYNGEAL FORCEPS ROUND CUP STR 25CM | 1 |
| 11 | MICRO LARYNGEAL FORCEPS ROUND CUP CVD LEFT 25CM | 1 |
| 12 | MICRO LARYNGEAL FORCEPS ROUND CUP CVD RIGHT 25CM | 1 |
| 13 | MICRO LARYNGEAL FORCEPS ROUND CUP UPWARD 25CM | 1 |
| 14 | MICRO LARYNGEAL SCISSOR STR 25CM | 1 |
| 15 | MICRO LARYNGEAL SCISSOR CVD / LEFT 25CM | 1 |
| 16 | MICRO LARYNGEAL SCISSOR CVD / RIGHT 25CM | 1 |
| 17 | MICRO LARYNGEAL SCISSOR CVD UPWARD 25CM | 1 |
| 18 | MICRO LARYNGEAL OVAL FORCEPS STR 25CM | 1 |
| 19 | OLIVE SUCTION TUBE W/F/CUTT OFF 2.0MM, 90 DEGREE 30CM | 1 |
| 20 | OLIVE SUCTION TUBE W/F/CUTT OFF 3.0MM, 90 DEGREE 30CM | 1 |
| 21 | OLIVE SUCTION TUBE W/F/CUTT OFF 4.0MM, 90 DEGREE 30CM | 1 |
| 22 | ADOPATOR (V) FOR OPERATING LARYNGOSCOPE | 1 |
| 23 | REXION BAG FOR OPERATING LARYNGOSCOPE | 1 |
| 24 | CHEST SUPPORT FOR LARYNGOSCOPE HOLDER | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **SEPTORHINOPLASTY SURGERY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | SCALPEL HANDLE NO. 4 | 1 |
| 2 | MAYO-HEGAR NEEDLE HOLDER 14CM/5 1/2" | 1 |
| 3 | BALLENGER SEPTUM KNIFE 4MM 20CM / 8" | 1 |
| 4 | JOSEPH NASAL SAW RIGHT 19CM / 7 1/2" | 1 |
| 5 | STEVEN TENOTOMY EYE SCISSOR POINTED STR 11.5CM/4 1/2" | 1 |
| 6 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 7 | MAYO-HEGAR NEEDLE HOLDER 16CM/6 1/4" | 1 |
| 8 | MAYO-HEGAR NEEDLE HOLDER 18CM/7" | 1 |
| 9 | TRACHEAL RETRACTOR 1 PRONG SHARP 16CM/6 1/4" LARGE CVD | 2 |
| 10 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 11 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 3 |
| 12 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 13 | KRIENG PLASTIC KNIFE | 1 |
| 14 | FREER NASAL KNIFE | 1 |
| 15 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 1 |
| 16 | MIDDLETON-JANSEN SEPTUM FCP 19CM / 7 1/2" | 1 |
| 17 | LUC NASAL CUTTING FORCEPS FIG. 1, 19CM | 1 |
| 18 | HARTMANN-HALLE NASAL SPECULA 15CM / 6" FIG. 1 | 1 |
| 19 | HARTMANN-HALLE NASAL SPECULA 15CM / 6" FIG. 2 | 1 |
| 20 | HARTMANN-HALLE NASAL SPECULA 15CM / 6" FIG. 3 | 1 |
| 21 | JOSEPH NASAL SAW LEFT 19CM / 7 1/2" | 1 |
| 22 | MALTZ RASPS WITH T/C 17.5CM / 6 3/4" FIG. 2 | 1 |
| 23 | WIENER NASAL RASP 18CM / 7" | 1 |
| 24 | AUFRICHT RETRACTOR 16CM / 6 1/4" | 1 |
| 25 | YANKAUER SUCTION TUBE FIG. 0 | 1 |
| 26 | FRAZIER SUCTION TUBE 17CM 6FIG | 1 |
| 27 | FRAZIER SUCTION TUBE 17CM 8FIG | 1 |
| 28 | ADSON BROWN TISSUE FCP 12CM/4 3/4" | 1 |
| 29 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 30 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 31 | TISSUE FCP ( 1X2 TH ) 13CM/5" | 1 |
| 32 | FARABAUF RETRACTOR 12CM / 4 3/4" SET OF 2 | 1 |
| 33 | HEYMANN NASAL SCISSOR 18CM/7" | 1 |
| 34 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 35 | BACKHAUS TOWEL FCP 9CM/31/2" | 4 |
| 36 | BACKHAUS TOWEL FCP 11CM/41/2" | 4 |
| 37 | FORESTER SPONGE HOLDING FCP SERRATED STR 18CM/7" | 2 |
| 38 | LERICHE A/FCP STR (1X2 TH) 15CM/6" | 1 |
| 39 | ASCH SEPTUM FCP 23CM / 9" | 1 |
| 40 | FREER HOOK 15CM / 6" | 2 |
| 41 | JANSEN ( GRUENWALD ) NASAL DRESSING FCP 20CM/8" | 1 |
| 42 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 2 LEFT | 1 |
| 43 | WALSHAM SEPTUM STRAIGHTING FCP 23CM / 9" FIG. 3 RIGHT | 1 |
| 44 | FREER CHISEL 4MM 16CM / 6 1/2" CVD | 1 |
| 45 | KILLAIN-CLAUS GOUGE 16CM / 6 1/4" | 1 |
| 46 | SMITH - PETERSON OSTEOTOME STR 19MM 20CM / 8" | 1 |
| 47 | SCALPEL HANDLE NO. 3 | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **MYRINGOTOMY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | BOUCHERON EAR SPECULA SET OF 4 FIG. 3 - 6 | 1 |
| 2 | LUCAE KNIFE 18CM / 7" | 1 |
| 3 | POLITZER EAR KNIFE 16.5CM / 6 1/2" | 1 |
| 4 | HOUGH MICRO EAR FCP LEFT ANGLED 0.8 X 3MM 8CM / 3 1/4" | 1 |
| 5 | ZOELLNER SUCTION TUBE WITHOUT SUCTION | 1 |
| 6 | ZOELLNER TIP ONLY Ø0,7MM | 6 |
| 7 | ZOELLNER TIP ONLY Ø0,9MM | 6 |
| 8 | ZOELLNER TIP ONLY Ø1,2MM | 6 |
| 9 | BACKHAUS TOWEL FCP 9CM/31/2" | 4 |