**EYE SURGEERY**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **CATARACT INSTUMENTS SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 4 |
| 2 | MICRO SCISSOR STR 14.5CM/5 3/4'' | 4 |
| 3 | ST.MARTIN TISSUE FCP 7CM / 2 3/4" | 4 |
| 4 | CASTROVIEJO NEEDLE HOLDER T/C 14CM STR SERR WITH RATCHET | 4 |
| 5 | VANNAS IRIDECTOMY CVD SCISSOR 8CM / 3 1/4" | 4 |
| 6 | CASTROVIEJO N/HOLDER SMOOTH T/C 14CM STR SERR WITH RATCHET | 4 |
| 7 | YASARGIL SCISSOR STR 22.5CM/9" | 4 |
| 8 | BARRAQUER (COLIBRI) EYE SPECULA ADULT 4CM / 1 1/2" | 4 |
| 9 | CATURY POINT | 4 |
| 10 | WIRE VECTUS | 4 |
| 11 | IRIS REPOSITORY D/E | 4 |
| 12 | DRESSING FCP STR 18CM/7" | 4 |
| 13 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 4 |
| 14 | SIMCOE CANNULA | 4 |
| 15 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 4 |
| 16 | HESS IRIS FCP 7CM / 2 3/4" | 4 |
| 17 | SCALPEL HANDLE NO. 3 | 4 |
| 18 | LENS HOOK | 4 |
| 19 | LENS HOLDING FORCEPS | 4 |
| 20 | McPherson FORCEPS | 4 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **DCR SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | FERRIS SMITH-KERRISON RONGEUR UPNWARD 2MM 18CM / 7" | 4 |
| 2 | FERRIS SMITH-KERRISON RONGEUR DOWNWARD 2MM 18CM / 7" | 4 |
| 3 | STILLE-LUER BONE RONGEUR STR 22CM / 8 3/4" D/A | 4 |
| 4 | RANEY APPLYING FCP 16CM /6 1/4" | 4 |
| 5 | MCDONALD BONE ELEVATOR 19CM / 7 1/2" | 4 |
| 6 | STILLE BONE CHISEL 20MM 20CM/8" | 4 |
| 7 | STILLE BONE GOUGE 10MM STR 20CM/8" | 4 |
| 8 | ALM RETRACTOR 10CM / 4" BLUNT | 4 |
| 9 | LAMBOTTE PERIOSTEAL RASPATORY15MM 21CM / 8 1/4" | 4 |
| 10 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 4 |
| 11 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 4 |
| 12 | HESS IRIS FCP 7CM / 2 3/4" | 4 |
| 13 | SCALPEL HANDLE NO. 3 | 4 |
| 14 | CASTROVIEJO NEEDLE HOLDER T/C 18CM/7" STR SERR WITH RATCHET | 4 |
| 15 | MICRO NEEDLE HOLDER WITH RATCHET T/C 21CM/8 1/4" STR | 4 |
| 16 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 4 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **CHALAZION SET** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | JAEGER LID PLATE 11CM / 4 1/2" | 1 |
| 2 | MEYHOEFER CURETTE 1.8MM | 1 |
| 3 | MEYHOEFER CURETTE 2MM | 1 |
| 4 | MEYHOEFER CURETTE 2.5MM | 1 |
| 5 | MEYHOEFER CURETTE 3.5MM | 1 |
| 6 | EYE SCISSOR STANDARD STR 10.5CM/4 1/4" | 1 |
| 7 | PAUFIQUE SUTURE FCP 10CM / 4" | 1 |
| 8 | HUNTER SPLINTER FCP 10.5CM/4 1/4" | 1 |
| 9 | FRANCIS CHALAZION FORCEPS 12X14MM OVAL, 9.5CM | 1 |
| 10 | CASTROVIEJO MICRO N/HOLDER 9CM CVD WITHOUT RATCHET SMOOTH | 1 |
| 11 | STERILIZING CONTAINER PERFORATED 220X120X50MM | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **SQUINT SET** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | MASTIN MUSCLE FCP 17CM / 6 3/4" | 2 |
| 2 | VERNIER CALIPER | 1 |
| 3 | LANCASTER EYE SPECULA 8CM / 3 1/4" | 2 |
| 4 | O'CONNOR IRIS FCP 1X2TH 10CM / 4" WITH LOCK | 1 |
| 5 | NEEDLE HOLDER SMALL CASTROVIEJO CVD 9CM | 1 |
| a | CASTROVIEJO MICRO N/HOLDER 14CMCVD WITH RATCHET SMOOTH | 1 |
| 6 | O'CONNOR IRIS FCP 1X2TH 10CM / 4" WITH LOCK | 1 |
| a | STEVENS IRIS FCP STR 1X2TH 11CM / 4 1/2" | 1 |
| 7 | SCALPEL HANDLE NO. 3 | 1 |
| 8 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 1 |
| 9 | ELSCHNIG TISSUE FCP 11.5CM / 4 1/2" | 2 |
| 10 | CASTROVIEJO IRIDECTOMY SCISSOR CVD 10CM/ 4" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | ***CATARACT SET*** |  |
|  | ***SET CONSISTS OF:*** | 1 |
| 1 | CASTROVIEJO IRIDECTOMY SCISSOR CVD 10CM/ 4" | 1 |
| 2 | KREMER CORNEAL FIXATION FCP 0.12MM 10CM / 4" CVD | 1 |
| 3 | MCPHENSON SUTURE FCP 10CM / 4" | 1 |
| 4 | VANNAS IRIDECTOMY STR SCISSOR 9CM/ 3 1/2" | 1 |
| 5 | VANNAS IRIDECTOMY STR SCISSOR 9CM/ 3 1/2" | 1 |
| 6 | CASTROVIEJO MICRO N/HOLDER 14CMCVD WITH RATCHET SMOOTH | 1 |
| 7 | NOYES IRIDECTOMY SCISSOR SH/SH FIG. 1 12CM/4 3/4" | 1 |
| 8 | BARRAQUER (COLIBRI) EYE SPECULA ADULT 4CM / 1 1/2" | 1 |
| 9 | WORDSWORTH CAUTRY POINT STEEL | 1 |
| 10 | WEBER LENS EXPRESSOR | 1 |
| 11 | WEEKER SPATULA | 1 |
| 12 | SEMKEN DRESSING FCP 12CM/4 3/4" | 1 |
| 13 | SEMKEN TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 14 | SIMCOE IRRIGATING -ASPIRATING CANNULA 23G | 1 |
| 15 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 2 |
| 16 | GREAFE TISSUE FCP WITH SPRING CATCH 11CM / 4 1/2" | 1 |
| 17 | SCALPEL HANDLE NO. 3 | 1 |
| 18 | FENZL LENS MANIPULATING HOOK 0.15MM DIAMETER TIP ANGLED | 1 |
| 19 | SHEPARD CAPSULAR FCP WITH ARRIGATOR | 1 |
| 20 | MCPHENSON SUTURE FCP 10CM / 4" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | ***DCR SET*** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | COLCLOUGH RONGEUR UPWARD 3MM 15CM / 6" | 1 |
| 2 | COLCLOUGH RONGEUR DOWNWARD 3MM 15CM / 6" | 1 |
| 3 | BOHLER BONE RONGEUR CVD 15CM / 6" D/A | 1 |
| 4 | TROUTMAN-CHRIS RAZOR BLADE BREAKER 9CM/3 1/2" | 1 |
| 5 | STALLARD'S DCR DISSECTOR BLUNT | 1 |
| 6 | ROLLET FOREIGN BODY INSTRUMENT | 1 |
| 7 | LUCAS BONE DCR GOUGE 3MM, R/H 16CM | 1 |
| 8 | ALM RETRACTOR 10CM / 4" SHARP | 1 |
| 9 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 1 |
| 10 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 4 |
| 11 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 2 |
| 12 | GREAFE TISSUE FCP WITH SPRING CATCH 11CM / 4 1/2" | 2 |
| 13 | SCALPEL HANDLE NO. 3 | 1 |
| 14 | CASTROVEIJO NEEDLE HOLDER MICRO CVD 9CM | 1 |
| 15 | CASTROVIEJO MICRO N/HOLDER 14CMCVD WITH RATCHET SMOOTH | 1 |
| 16 | EYE SCISSOR STANDARD STR 10.5CM/4 1/4" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | ***SQUINT SET*** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | GRAEFE HOOK | 2 |
| 2 | CASTROVEIJO SCLERAL MARKER 0-20MM | 1 |
| 3 | SPLINTER FCP FINE 10CM/4 1/4" | 1 |
| 4 | SPLINTER FCP FINE ( 1X2 ) 10CM/4 1/4" | 1 |
| 5 | WORDSWORTH CAUTRY POINT STEEL | 1 |
| 6 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 2 |
| 7 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 8 | GREAFE TISSUE FCP WITH SPRING CATCH 11CM / 4 1/2" | 1 |
| 9 | SCALPEL HANDLE NO. 3 | 1 |
| 10 | CASTROVEIJO NEEDLE HOLDER MICRO CVD 9CM | 1 |
| 11 | CASTROVIEJO MICRO N/HOLDER 14CMCVD WITH RATCHET SMOOTH | 1 |
| 12 | EYE SCISSOR STANDARD STR 10.5CM/4 1/4" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **GLAUCOMA SET** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | BACKHAUS TOWEL FCP 11CM/41/2" | 2 |
| 2 | MICRO-MOSQUITO A/FCP CVD (SERR) 10CM/4" | 2 |
| 3 | BARRAQUER (COLIBRI) EYE SPECULA ADULT 4CM / 1 1/2" | 1 |
| 4 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 5 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 1 |
| 6 | VANNAS IRIDECTOMY STR SCISSOR 9CM/ 3 1/2" | 2 |
| 7 | WECKER IRIDECTOMY SCISSOR 11.5CM/4 1/2" SH/SH | 1 |
| 8 | TROUTMAN(COLIBRI) IRIS FCP 0.12MM 7.5CM / 3" | 1 |
| 9 | CASTROVEIJO SCLERAL MARKER 0-20MM | 1 |
| 10 | CASTROVIEJO TISSUE FCP STR 0.30MM 9CM / 3 1/2" | 1 |
| 11 | CASTROVEIJO NEEDLE HOLDER MICRO CVD 9CM | 1 |
| 12 | CASTROVIEJO-BARRAQUER CYCLODIALYSIS SPATULA LEFT 10MM | 1 |
| 13 | MICRO BARRAQUER NEEDLE HOLDER 15CM/6" CVD WITH RATCHET | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **CATARACT SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | BISHOP-HARMAN MICRO FCP 8.5CM / 3 1/2" | 1 |
| 2 | JONES TOWEL FCP 9CM/3 1/2" | 1 |
| 3 | CRILE A/FCP STR 14CM/51/2" | 1 |
| 4 | CRILE A/FCP CVD 14CM/51/2" | 1 |
| 5 | BOWMAN EYE SPECULA 7CM / 2 3/4" | 1 |
| 6 | BARRAQUER (COLIBRI) EYE SPECULA ADULT 4CM / 1 1/2" | 1 |
| 7 | CASTROVIEJO IRIDECTOMY SCISSOR SH/SH 10CM /4 1/2" | 1 |
| 8 | CASTROVIEJO IRIDECTOMY SCISSOR SH/SH 10CM /4 1/2" | 1 |
| 9 | KREMER CORNEAL FIXATION FCP 0.12MM 10CM / 4" CVD | 1 |
| 10 | CAPSUORHEX FORCEPS | 1 |
| 11 | CASTROVIEJO TISSUE FCP STR 0.12MM 9CM / 3 1/2" | 1 |
| 12 | MCPHENSON SUTURE FCP 10CM / 4" | 1 |
| 13 | BONN IRIS FCP WITH PIN 1X2TH 7CM / 2 3/4" | 1 |
| 14 | KREMER CORNEAL FIXATION FCP 0.12MM 10CM / 4" CVD | 1 |
| 15 | CASTROVIEJO MICRO N/HOLDER 14CM STR WITH RATCHET SMOOTH | 1 |
| 16 | CASTROVIEJO NEEDLE HOLDER T/C 14CM STR SERR WITH RATCHET | 1 |
| 17 | MIXTER SCISSOR STR 15.5CM/6" | 1 |
| 18 | STERN-GILLS SCISSORS | 1 |
| 19 | CASTROVIEJO CALIPER 15MM | 1 |
| 20 | SINSKEY II LENS HOOK, ANGLED | 1 |
| 21 | LENS DIALERS | 1 |
| 22 | PHACO CHOPPER | 1 |
| 23 | ST.MARTIN TISSUE FCP 7CM / 2 3/4" | 1 |
| 24 | WESTCOTT SCISSORS | 1 |
| 25 | IRIS REPOSITOR | 1 |
| 26 | SQUINT HOOK | 1 |
| 27 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 1 |
| 28 | SCALPEL HANDLE NO. 3 | 1 |
| 29 | AIR INJECTION CANNULA 27G | 1 |
| 30 | SIMCOE CANNULA | 1 |
| 31 | MICRO SURGICAL INSTRUMENTS TRAY (PLASTIC) | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **SQUINT SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | PARK-MAUMENEE EYE SPECULA 8CM / 3 1/4" | 1 |
| 2 | JAMESON LOCATOR | 1 |
| 3 | JAMESON LOCATOR | 1 |
| 4 | CULLAR RECTUS MUSCLE HOOK | 1 |
| 5 | GRAEFE HOOK | 1 |
| 6 | GRAEFE HOOK | 1 |
| 7 | GRAEFE HOOK | 1 |
| 8 | JAMESON MUSCLE FCP 10CM / 4" LEFT | 1 |
| 9 | JAMESON MUSCLE FCP 10CM / 4" RIGHT | 1 |
| 10 | BISHOP-HARMAN IRIS FCP 8.5CM / 3 1/2" SERR | 1 |
| 11 | GREAFE TISSUE FCP WITHOUT SPRING CATCH 11CM / 4 1/2" | 1 |
| 12 | CASTROVIEJO TISSUE FCP STR 0.50MM 9CM / 3 1/2" | 1 |
| 13 | MCPHENSON SUTURE FCP 10CM / 4" | 1 |
| 14 | CASTROVIEJO CALIPER 20MM | 1 |
| 15 | STEVEN TENOTOMY EYE SCISSOR POINTED STR 11.5CM/4 1/2" | 1 |
| 16 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 1 |
| 17 | SPENCER LIGATURE SCISSOR 9CM/3 1/2" | 1 |
| 18 | BARRAQUER NEEDLE HOLDER CVD W/O LOCK | 1 |
| 19 | SERREFINE | 1 |
| 20 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 1 |
| 21 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **R.D. (RETINAL DETACHEMENT) SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | BARRAQUER EYE SPECULA 4CM / 1 1/2" | 1 |
| 2 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 3 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 1 |
| 4 | GRAEFE HOOK | 1 |
| 5 | BISHOP-HARMAN MICRO FCP 8.5CM / 3 1/2" | 1 |
| 6 | CASTROVIEJO CALIPER 20MM | 1 |
| 7 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 1 |
| 8 | SCALPEL HANDLE NO. 3 | 1 |
| 9 | CASTROVIEJO MICRO N/HOLDER 14CM STR WITH RATCHET SMOOTH | 1 |
| 10 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **DCR SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | STEVENS LACRIMAL SAC RETRACTOR | 1 |
| 2 | KNAPP LACRIMAL SAC RETRACTOR | 1 |
| 3 | WILDER LACHRYMAL DILATOR FIG. 1 | 1 |
| 4 | WILDER LACHRYMAL DILATOR FIG. 2 | 1 |
| 5 | WILDER LACHRYMAL DILATOR FIG. 3 | 1 |
| 6 | RUEDEMANN LACRIMAL DILATOR | 1 |
| 7 | BOWMAN LACHRYMAL PROBE FIG. 0000/000 | 1 |
| 8 | BOWMAN LACHRYMAL PROBE FIG. 00/0 | 1 |
| 9 | FERRIS SMITH-KERRISON RONGEUR UPNWARD 0.6MM 18CM / 7" | 1 |
| 10 | BETZ LACRIMAL SAC RONGEUR | 1 |
| 11 | TENZEL DOUBLE ENDED PERIOSTEAL ELEVATOR | 1 |
| 12 | WEST PUNCHING GOUGE 16CM / 6 1/4" | 1 |
| 13 | BONE MALLET 25MM / 140G 18CM / 7" | 1 |
| 14 | KILLIAN NASAL SPECULA 35MM FIG. 1 | 1 |
| 15 | BISHOP-HARMAN MICRO FCP 8.5CM / 3 1/2" | 1 |
| 16 | SCHADEL TOWEL FCP 9CM/3 1/2" | 1 |
| 17 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 18 | STEVEN TENOTOMY EYE SCISSOR POINTED CVD 11.5CM/4 1/2" | 1 |
| 19 | SPENCER LIGATURE SCISSOR 9CM/3 1/2" | 1 |
| 20 | STRAIGHT EYE SCISSORS | 1 |
| 21 | BARRAQUER NEEDLE HOLDER CVD W/LOCK | 1 |
| 22 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **PTOSIS SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | BERKE MUSCLE FCP 10CM / 4" | 1 |
| 3 | PTOSIS KNIFE | 1 |
| 4 | KELLY A/FCP STR 14CM/5 1/2" | 1 |
| 5 | CASTROVIEJO TISSUE FCP STR 0.50MM 9CM / 3 1/2" | 1 |
| 6 | DRESSING FCP STR 16CM6 1/4" | 1 |
| 7 | DESMARRES VEIN RETRACTOR 13MM 13CM / 5" | 1 |
| 8 | STEVEN TENOTOMY EYE SCISSOR POINTED STR 11.5CM/4 1/2" | 1 |
| 9 | BISHOP HAMAN CANNULA | 1 |
| 10 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **PROBING SYRINGING SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | VANNAS IRIDECTOMY STR SCISSOR 9CM/ 3 1/2" | 1 |
| 2 | HEGAR DILATOR 3 / 4MM D/E | 1 |
| 3 | LACRYMAL PROBES (SET OF 4 PCS) | 1 |
| 4 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 1 |
| 5 | CASTROVIEJO NEEDLE HOLDER T/C 14CM STR SERR WITH RATCHET | 1 |
| 6 | OPERATING SCISSOR STR (FIG. 1) 11.5CM/4 1/4" BL/BL | 1 |
| 7 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **ENTROPION + CHALAZION SET WITH CONTAINER** |  |
|  | ***SET CONSISTS OF:*** | **1** |
| 1 | DESMARRES CHALAZION FCP 9CM / 3 1/2" FIG. 1 | 1 |
| 2 | CHALAZION CURETTES (04 PCS) | 1 |
| 3 | WESTCOTT IRIDECTOMY SCISSOR SH/SH 11.5CM/4 1/2" | 1 |
| 4 | VANNAS IRIDECTOMY CVD SCISSOR 8CM / 3 1/4" | 1 |
| 5 | CASTROVIEJO TISSUE FCP STR 0.12MM 9CM / 3 1/2" | 1 |
| 6 | LANDOLT ENCLEATION SCISSOR CVD 12CM/5" | 1 |
| 7 | SATTLER MUSCLE FCP 10CM / 4" LEFT | 1 |
| 8 | MICRO SURGICAL INSTRUMENTS TRAY PLASTIC | 1 |