**GEN. SURGERY**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **GENERAL SURGERY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | YANKAUER SUCTION TUBE 27CM | 1 |
| 2 | DRESSING FCP STR 11.5CM/4 1/2" | 1 |
| 3 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 4 | DRESSING FCP STR 18CM/7" | 1 |
| 5 | SCALPEL HANDLE NO. 3 | 1 |
| 6 | SCALPEL HANDLE NO. 4 | 1 |
| 7 | SCALPEL HANDLE NO. 7 | 1 |
| 8 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 9 | MAYO DISSECTING SCISSORS 6 3/4" STR. TC TIP | 1 |
| 10 | MAYO DISSECTING SCISSORS 6 3/4" CVD. TC TIP | 1 |
| 11 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 12 | METZENBAUM SCISSOR STR BL/BL T/C 18CM/7" | 1 |
| 13 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 20CM/8" | 1 |
| 14 | DRESSING FCP STR 18CM/7" | 1 |
| 15 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 16 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 17 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 18 | CUSHING DRESSING FCP STR 18CM/7" | 1 |
| 19 | GERALD TISSUE FCP ( 1X2 TH )18CM/7" | 1 |
| 20 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 21 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 12 |
| 22 | ROCHESTER PEAN A/FCP CVD (SERR) 16CM/6 1/4" | 4 |
| 23 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 4 |
| 24 | OSCHSNER-KOCHER A/FCP CVD (1X2 TH) 20CM/8" | 4 |
| 25 | MIXTER-SLIM LIGAUTRE FCP 23CM/9" | 1 |
| 26 | MIXTER BABY DISSECTING FCP 14CM/5 1/2" | 1 |
| 27 | BACKHAUS TOWEL FCP 13CM/5" | 12 |
| 28 | FORESTER SPONGE HOLDING FCP SERRATED STR 24CM/9'' | 2 |
| 29 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 30 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 31 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 1 |
| 32 | MAYO-HEGAR NEEDLE HOLDER T/C 24CM/9 1/2" | 1 |
| 33 | POOLE SUCTION TUBE ( 10MM ) 22CM/8 3/4" STR | 1 |
| 34 | PARKER-LANGENBECK RETRACTOR ( U.S. ARMY )21CM / 8 1/4" SET OF 2 | 1 |
| 35 | ABDOMINAL SPATULA MALLEABLE 33CM/13" ( 30MM ) | 1 |
| 36 | DEAVER RETRACTOR 30CM/12" ( 25MM ) | 2 |
| 37 | DEAVER RETRACTOR 30CM/12" ( 38MM ) | 2 |
| 38 | DEAVER RETRACTOR 30CM/12" ( 50MM ) | 2 |
| 39 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X40MM ) S/E | 2 |
| 40 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X50MM ) S/E | 2 |
| 41 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (22X6MM) | 2 |
| 42 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (44X13MM) | 2 |
| 43 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (64X25MM) | 2 |
| 44 | BALFOUR RETRACTOR 180MM OPENING COMPLETE | 1 |
| 45 | LAHEY GALL STONE CLAMPS 19CM/7 1/2" | 1 |
| 46 | MIXTER DISSECTING, LIGAUTRE FCPS 22CM/8 3/4" | 1 |
| 47 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 4 |
| 48 | ALLIS TISSUE FCP 5X6 TH 19CM / 7 1/2" | 4 |
| 49 | BABCOCK TISSUE FCP 16CM / 6 1/4" | 2 |
| 50 | BABCOCK TISSUE FCP 20CM / 8" | 2 |
| 51 | DEBAKEY TISSUE FCP 1.5MM 18CM/7" | 1 |
| 52 | DOYEN INTESTINAL CLAMP STR 21CM / 8 1/4" OBLIQUE SERR | 2 |
| 53 | DOYEN INTESTINAL CLAMP CVD 21CM / 8 1/4" OBLIQUE SERR | 2 |
| 54 | MAYO-ROBSON INTESTINAL CLAMP STR 21CM / 8 1/4" | 2 |
| 55 | MAYO-ROBSON INTESTINAL CLAMP CVD 21CM / 8 1/4" | 2 |
| 56 | DENIS BROWNE INTESTINAL HOLDING FORCEP 18CM | 2 |
| 57 | LANE TISSUE FCP ( 1X2 TH ) 18CM/7" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **THYROID SURGERY SET** | **1** |
|  | ***CONSISTS OF:*** |  |
| 1 | EYE SCISSOR STANDARD STR 10.5CM/4 1/4" | 1 |
| 2 | EYE SCISSOR STANDARD CVD 10.5CM/4 1/4" | 1 |
| 3 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 4 | STEVEN TENOTOMY EYE SCISSOR POINTED STR 11.5CM/4 1/2" | 1 |
| 5 | STEVEN TENOTOMY EYE SCISSOR POINTED CVD 11.5CM/4 1/2" | 1 |
| 6 | KILNER ( RAGNELL ) SCISSOR 13CM/5" | 1 |
| 7 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 8 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 9 | ADSON BROWN TISSUE FCP 12CM/4 3/4" | 1 |
| 10 | MICRO-MOSQUITO A/FCP STR SERR 12CM/4 3/4" | 2 |
| 11 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 2 |
| 12 | KELLY A/FCP CVD 14CM/5 1/2" | 1 |
| 13 | CRILE-RANKIN A/FCP CVD 16CM/6 1/4" | 1 |
| 14 | MIXTER BABY DISSECTING FCP 14CM/5 1/2" | 2 |
| 15 | BACKHAUS TOWEL FCP 9CM/31/2" | 8 |
| 16 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 17 | WEBSTER NEEDLE HOLDER SMOOTH 13CM/5" | 1 |
| 18 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 19 | JANSEN RETRACTOR 10CM / 4" BLUNT | 1 |
| 20 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 21 | WEITLANER RETRACTOR 10.5CM / 4 1/4" BLUNT ( 2X3TH ) | 1 |
| 22 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |
| 23 | FRAZIER SUCTION TUBE 17CM 6FIG | 1 |
| 24 | GILLIES NERVE HOOK ( FIG. 1 ) 18CM/7" | 2 |
| 25 | FREER HOOK 15CM / 6" | 2 |
| 26 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 27 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 28 | LOVELACE HAEMOSTATIC FCP 15CM/6" | 2 |
| 29 | LAHEY RETRACTOR 19CM/7 1/2" (28X6MM) | 1 |
| 30 | GREEN RETRACTOR 22CM/8 1/2" | 1 |
| 31 | LITTLE RETRACTOR ( 12X14MM ) 20CM/8" | 1 |
| 32 | CUSHING VEIN RETRACTOR 8MM 24CM / 9 1/2" | 1 |
| 33 | LAHEY GRASPING FCP 15CM/6" | 6 |
| 34 | BOZEMAN VAGINAL RETRACTOR COMPLETE 2 HANDLES WITH 8 BLADE | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **FINE SURGERY INSTRUMENTS SET** | **3** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | SCALPEL HANDLE NO. 4 | 1 |
| 3 | OPERATING SCISSOR STR (FIG. 3) 16CM/6 1/4" SH/SH | 1 |
| 4 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 5 | MAYO SCISSOR CVD 14.5CM/5 3/4" | 1 |
| 6 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 7 | STEVEN TENOTOMY EYE SCISSOR BLUNT STR 11.5CM/4 1/2" | 1 |
| 8 | STEVEN TENOTOMY EYE SCISSOR BLUNT CVD 11.5CM/4 1/2" | 1 |
| 9 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 10 | ADSON DRESSING FORCEPS SERR 15CM | 1 |
| 11 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 12 | TISSUE FCP ( 1X2 TH ) 20CM/8" | 1 |
| 13 | HARTMANN HAEMOSTATIC FCP STR (SERR) 10CM/4" | 2 |
| 14 | HARTMANN HAEMOSTATIC FCP CVD (SERR) 10CM/4" | 2 |
| 15 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 16 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 17 | MOYNIHAN GALL DUCT CLAMP 23CM/9" | 2 |
| 18 | MOYNIHAN GALL DUCT CLAMP 24CM/9 1/2" | 2 |
| 19 | BACKHAUS TOWEL FCP 11CM/41/2" | 8 |
| 20 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 21 | SENN-MULLER RETRACTOR BLUNT 16CM / 6 1/4" | 1 |
| 22 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (44X13MM) | 2 |
| 23 | CZERNY RETRACTOR 18CM / 7" | 1 |
| 24 | ALM RETRACTOR 10CM / 4" BLUNT | 1 |
| 25 | JANSEN RETRACTOR 10CM / 4" SHARP | 1 |
| 26 | TUFFIER ABDOMINAL SPATULA MALLEABLE 20CM/8"( 17X25MM ) | 1 |
| 27 | DERF NEEDLE HOLDER 12CM/4 3/4" SERR | 1 |
| 28 | HALSEY NEEDLE HOLDER SMOOTH 13CM/5" | 1 |
| 29 | MAYO-HEGAR NEEDLE HOLDER 20CM/8" | 1 |
| 30 | ADSON NEEDLE HOLDER 18CM/7" | 1 |
| 31 | FRAZIER SUCTION TUBE 17CM 6FIG | 2 |
| 32 | TRACHEAL RETRACTOR 2 PRONG BLUNT 16CM/6 1/4" LARGE CVD | 1 |
| 33 | GILLIES NERVE HOOK ( FIG. 1 ) 18CM/7" | 1 |
| 34 | GILLIES NERVE HOOK ( FIG. 2 ) 18CM/7" | 1 |
| 35 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | ***CHOLECYSTECTOMY SET*** | **2** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 2 | SCALPEL HANDLE NO. 3 | 1 |
| 3 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 2 |
| 4 | MAYO SCISSOR STR T/C 17CM/6 3/4" | 1 |
| 5 | MAYO SCISSOR CVD T/C 17CM/6 3/4" | 1 |
| 6 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 7 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 8 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 4 |
| 9 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 4 |
| 10 | KELLY A/FCP CVD 14CM/5 1/2" | 4 |
| 11 | BACKHAUS TOWEL FCP 13CM/5" | 6 |
| 12 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 13 | MAYO-HEGAR NEEDLE HOLDER T/C 16CM/6 1/4" | 1 |
| 14 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 15 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 16 | PROBE WITH EYE 14.5CM / 5 3/4" | 1 |
| 17 | DIRECTOR 14.5CM / 5 3/4" | 1 |
| 18 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 19 | VOLKMANN RETRACTOR BLUNT 21.5CM / 8 1/2" (3 PRONG) | 2 |
| 20 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |
| 21 | FRAZIER SUCTION TUBE 17CM 9FIG | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | ***APPENDISECTOMY SET*** | **4** |
|  | *SET CONSISTS OF:* |  |
| 1 | YANKAUER SUCTION TUBE 27CM | 1 |
| 2 | SCALPEL HANDLE NO. 3 | 1 |
| 3 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 4 | MAYO SCISSOR STR T/C 14.5CM/5 3/4" | 1 |
| 5 | MAYO SCISSOR CVD T/C 14.5CM/5 3/4" | 1 |
| 6 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 7 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 8 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 1 |
| 9 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 1 |
| 10 | KELLY A/FCP CVD 14CM/5 1/2" | 1 |
| 11 | BACKHAUS TOWEL FCP 13CM/5" | 1 |
| 12 | FORESTER SPONGE HOLDING FCP SERRATED STR 24CM/9'' | 1 |
| 13 | MAYO-HEGAR NEEDLE HOLDER T/C 16CM/6 1/4" | 1 |
| 14 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 15 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 16 | PROBE WITH EYE 14.5CM / 5 3/4" | 1 |
| 17 | DIRECTOR 14.5CM / 5 3/4" | 1 |
| 18 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 1 |
| 19 | VOLKMANN RETRACTOR BLUNT 21.5CM / 8 1/2" (3 PRONG) | 1 |
| 20 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 1 |
| 21 | FRAZIER SUCTION TUBE 17CM 9FIG | 1 |
| 22 | SCHNIDT HAEMOSTATIC FCP CVD 19CM/7 1/2" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **LAPAROTOMY SET** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 2 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 3 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 4 | DRESSING FCP STR 18CM/7" | 1 |
| 5 | SCALPEL HANDLE NO. 3 | 2 |
| 6 | SCALPEL HANDLE NO. 4 | 2 |
| 7 | SCALPEL HANDLE NO. 7 | 1 |
| 8 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 9 | MAYO DISSECTING SCISSORS 6 3/4" STR. TC TIP | 1 |
| 10 | MAYO DISSECTING SCISSORS 6 3/4" CVD. TC TIP | 1 |
| 11 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 12 | METZENBAUM SCISSOR STR BL/BL T/C 23CM/9" | 1 |
| 13 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 23CM/9" | 1 |
| 14 | DRESSING FCP STR 13CM/5" | 1 |
| 15 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 16 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 17 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 18 | RUSSIAN TISSUE FCP 20CM/8" | 1 |
| 19 | CUSHING DRESSING FCP STR 18CM/7" | 1 |
| 20 | CUSHING TISSUE FCP 17.5CM/7" | 1 |
| 21 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 22 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 23 | KELLY A/FCP STR 14CM/5 1/2" | 6 |
| 24 | KELLY A/FCP CVD 14CM/5 1/2" | 12 |
| 25 | ROCHESTER PEAN A/FCP CVD (SERR) 16CM/6 1/4" | 2 |
| 26 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 2 |
| 27 | OSCHSNER-KOCHER A/FCP STR (1X2 TH) 16CM/6 1/4" | 4 |
| 28 | MIXTER LIGAUTRE FCP 19CM/7 1/2" | 1 |
| 29 | MIXTER-SLIM LIGAUTRE FCP 23CM/9" | 1 |
| 30 | MIXTER BABY DISSECTING FCP 14CM/5 1/2" | 1 |
| 31 | BACKHAUS TOWEL FCP 13CM/5" | 8 |
| 32 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 33 | MAYO-HEGAR NEEDLE HOLDER T/C 16CM/6 1/4" | 1 |
| 34 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 35 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 1 |
| 36 | MAYO-HEGAR NEEDLE HOLDER T/C 26CM/10 1/2" | 1 |
| 37 | POOLE SUCTION TUBE ( 10MM ) 22CM/8 3/4" STR | 1 |
| 38 | GOELET RETRACTOR 19CM / 7 1/2" | 2 |
| 39 | PARKER-LANGENBECK RETRACTOR ( U.S. ARMY )21CM / 8 1/4" SET OF 2 | 1 |
| 40 | ABDOMINAL SPATULA MALLEABLE 33CM/13" ( 30MM ) | 1 |
| 41 | ABDOMINAL SPATULA MALLEABLE 33CM/13" ( 35MM ) | 1 |
| 42 | ABDOMINAL SPATULA MALLEABLE 33CM/13" ( 50MM ) | 1 |
| 43 | DEAVER RETRACTOR 30CM/12" ( 25MM ) | 1 |
| 44 | DEAVER RETRACTOR 30CM/12" ( 50MM ) | 1 |
| 45 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 28X20MM ) S/E | 1 |
| 46 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 44X38MM ) S/E | 1 |
| 47 | KELLY RETRACTOR 26CM/10 1/4" ( 50X65MM ) | 1 |
| 48 | BALFOUR RETRACTOR 180MM OPENING COMPLETE | 1 |
| 49 | LAHEY GALL STONE CLAMPS 19CM/7 1/2" | 2 |
| 50 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |
| 51 | ALLIS TISSUE FCP 5X6 TH 19CM / 7 1/2" | 2 |
| 52 | BABCOCK TISSUE FCP 16CM / 6 1/4" | 2 |
| 53 | BABCOCK TISSUE FCP 24CM / 9 1/2" | 2 |
| 54 | SCHNIDT HAEMOSTATIC FCP STRONG CVD 19CM/7 1/2" | 4 |
| 55 | DEBAKEY TISSUE FCP 1.5MM 18CM/7" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **VENE SECTION SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | RAMPLEY SPONGE HOLDING FCP 18CM/7" | 1 |
| 2 | BACKHAUS TOWEL FCP 9CM/31/2" | 4 |
| 3 | SCALPEL HANDLE NO. 4 | 1 |
| 4 | OPERATING SCISSOR STR (FIG. 1) 13CM/5" BL/BL | 1 |
| 5 | EYE SCISSOR STANDARD CVD 11.5CM/4 1/2" | 1 |
| 6 | DRESSING FCP STR 13CM/5" | 2 |
| 7 | MICRO-MOSQUITO A/FCP STR SERR 10CM/4" | 4 |
| 8 | HEGAR MAYO NEEDLE HOLDER 130MM, TC TIP FINE | 1 |
| 9 | STERILIZING & STORING BOX 200MM X 100MM X 27MM | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **INTESTINAL SURGERY SET (use with Laparotomy set)** | **1** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 8 |
| 2 | ROCHESTER-CARMALT HAEMOSTATIC FCP STR 20CM/8" | 2 |
| 3 | WILLIAMS INTESTINAL TISSUE FCP 16CM / 6 1/4" | 1 |
| 4 | ALLEN INTESTINAL CLAMP 15.5CM / 6" | 2 |
| 5 | DOYEN INTESTINAL CLAMP STR 23CM / 9" OBLIQUE SERR | 2 |
| 6 | PAYR INTESTINAL CLAMP 21CM / 8 1/4" WITH PIN | 2 |
| 7 | DEBAKEY TISSUE FCP 1.5MM 18CM/7" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | ***I.V. CUT DOWN SET*** | **4** |
|  | ***SET CONSISTS OF:*** |  |
| 1 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 4 |
| 2 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 4 |
| 3 | MAYO-HEGAR NEEDLE HOLDER 16CM/6 1/4" | 1 |
| 4 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (22X6MM) | 2 |
| 5 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 6 | MAYO SCISSOR STR 17CM/6 3/4" | 1 |
| 7 | METZENBAUM SCISSOR STR BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 8 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 9 | SCALPEL HANDLE NO. 3 | 1 |
| a | SCALPEL HANDLE NO. 4 | 1 |
| 10 | BACKHAUS TOWEL FCP 9CM/31/2" | 4 |
| 11 | KIDNEY TRAY 10" | 1 |
| 12 | BOWL S.S. 4" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **THORACOTOMY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | METZENBAUM SCISSOR STR BL/BL T/C 23CM/9" | 1 |
| 2 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 23CM/9" | 1 |
| 3 | METZENBAUM SCISSORS CVD 28CM TC | 1 |
| 4 | MAYO HARRINGTON SCISSORS 23CM SC | 1 |
| 5 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 6 | MASSON NEEDLE HOLDER T/C 27CM/10 1/2" | 1 |
| 7 | SAROT NEEDLE HOLDER T/C 26CM/10 1/4" | 1 |
| 8 | DRESSING FCP STR 25CM/10" | 1 |
| 9 | SINGLEY-TUTTLE TISSUE FCP 23CM/9" | 1 |
| 10 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (44X13MM) | 3 |
| 11 | STILLE-LUER BONE RONGEUR CVD 22CM / 8 3/4" D/A | 1 |
| 12 | LISTON-KEY(HORSLEY) BONE CUTTING FCP 27CM / 10 1/2" D/A | 1 |
| 13 | BURFORD RIB SPREADER 65X62X260MM | 1 |
| 14 | BAILEY GIBBON RIB APPROXIMATOR 20CM | 1 |
| 15 | GIERTZ-STILLE RIB SHEAR 27CM / 10 1/2" | 1 |
| 16 | BETHUNE RIB SHEAR 34CM/13 1/2" | 1 |
| 17 | DOYEN RASPATORY 17CM / 6 3/4" ADULT | 1 |
| 18 | DOYEN RASPATORY 17CM / 6 3/4" ADULT | 1 |
| 19 | MATSON RASPATORY 22CM / 8 3/4" | 1 |
| 20 | MATSON RASPATORY 22CM / 8 3/4" | 4 |
| 21 | DUVAL GRASPING FORCEPS 25MM WIDE, 18CM | 2 |
| 22 | COLLIN-DUVAL TISSUE FCP 20CM/8" | 2 |
| 23 | ALLIS TISSUE FCP 5X6 TH 25CM / 10" | 4 |
| 24 | KANTROWTIZ HAEMOSTATIC FCP 24CM/9 1/2" | 2 |
| 25 | BRIDGE HAEMOSTATIC FCP CVD 27CM/10 1/2" | 1 |
| 26 | HALSTEAD MOSQUITO A/FCP CVD (SERR) 21CM/8 1/4" | 2 |
| 27 | CRAFOORD-SELLORS BRONCHUS FCP 24CM/9 1/2" STRONG CVD | 2 |
| 28 | MIXTER DISSECTING, LIGAUTRE FCPS 25CM/10 | 2 |
| 29 | SAROT HAEMOSTATIC FCP STR 24CM/9 1/2" | 1 |
| 30 | SAROT HAEMOSTATIC FCP CVD 24CM/9 1/2" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **MINOR SURGERY SET** | **QTY.** |
|  | **MINOR SURGERY SET** | 1 |
|  | ***SET CONSISTS OF:*** |  |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | SCALPEL HANDLE NO. 4 | 1 |
| 3 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 4 | MAYO SCISSOR CVD 14.5CM/5 3/4" | 1 |
| 5 | METZENBAUM SCISSOR STR BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 6 | DRESSING FCP STR 11.5CM/4 1/2" | 1 |
| 7 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 8 | TISSUE FCP ( 1X2 TH ) 11.5CM/4 1/2" | 1 |
| 9 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 10 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 11 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 12 |
| 12 | KELLY A/FCP STR 14CM/5 1/2" | 6 |
| 13 | KELLY A/FCP CVD 14CM/5 1/2" | 6 |
| 14 | ROCHESTER PEAN A/FCP CVD (SERR) 18CM/7" | 6 |
| 15 | BACKHAUS TOWEL FCP 13CM/5" | 12 |
| 16 | DIRECTOR 14.5CM / 5 3/4" | 1 |
| 17 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 18 | ROUX RETRACTOR SET OF 3 | 1 |
| 19 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 28X20MM ) S/E | 2 |
| 20 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 21 | VOLKMANN RETRACTOR SHARP 21.5CM / 8 1/2" (3 PRONG) | 2 |
| 22 | ALM RETRACTOR 10CM / 4" SHARP | 2 |
| 23 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 24 | MAYO-HEGAR NEEDLE HOLDER T/C 16CM/6 1/4" | 1 |
| 25 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 8 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **VASCULAR SURGERY SET** | **1** |
|  | **CONSISTING OF:** |  |
| 1 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 1 |
| 2 | MCINDOE CARTILAGE SCISSOR 19CM/7 1/2" | 2 |
| 3 | MAYO SCISSOR STR 14.5CM5 3/4" | 2 |
| 4 | MAYO SCISSOR STR 23CM/9" | 1 |
| 5 | DEBAKEY TISSUE FCP 3.5MM 16CM/6 1/4" | 2 |
| 6 | DEBAKEY TISSUE FCP 2.0MM 16CM/6 1/4" CVD | 2 |
| 7 | DEBAKEY VASCULAR DILATORS 0.5-9MM, SET OF 12 | 1 |
| 8 | DOYEN BABY INTESTINAL FORCEPS STR 18CM | 1 |
| 9 | HALSEY NEEDLE HOLDER 13CM/5" SERR | 2 |
| 10 | SENN-MULLER RETRACTOR BLUNT 16CM / 6 1/4" | 2 |
| 11 | HAMILTON BAILEY CANNULA ADULT | 2 |
| 12 | MOYNIHAN GALL DUCT CLAMP 23CM/9" | 6 |
| 13 | MAYO SAFETY PIN 14CM/5 1/2" | 1 |
| 14 | TRAY INSTRUMENTS W/COVER 450X350X50MM | 1 |
| 15 | MCINDOE DRESSING FCP 15CM/6" | 2 |
| 16 | DRESSING FCP STR 14.5CM/5 3/4" | 2 |
| 17 | POTTS - SMITH VASCULAR SCISSOR 19CM/7 1/2" ( 60° ) | 1 |
| 18 | DE BAKEY BULLDOG CLAMP STR 7.5CM / 3" | 1 |
| 19 | DE BAKEY BULLDOG CLAMP CVD 7.5CM / 3" | 1 |
| 20 | DE BAKEY BULLDOG CLAMP STR 8CM / 3 1/2" | 1 |
| 21 | DE BAKEY BULLDOG CLAMP CVD 8CM / 3 1/2" | 1 |
| 22 | DE BAKEY BULLDOG CLAMP STR 10CM / 4 1/4" | 1 |
| 23 | DE BAKEY BULLDOG CLAMP CVD 10CM / 4 1/4" | 1 |
| 24 | DE BAKEY BULLDOG CLAMP STR 12CM / 4 3/4" | 1 |
| 25 | DE BAKEY BULLDOG CLAMP CVD 12CM / 4 3/4" | 1 |
| 26 | SATINSKY CLAMP 26.5CM / 10 1/2" FIG. 1 | 1 |
| 27 | BABY SATINSKY BLOOD VESSEL CLAMP 15CM / 6" | 1 |
| 28 | HARKEN CLAMP 24CM / 9 1/2" FIG. 1 | 1 |
| 29 | SATINSKY DE BAKEY OCCLUSION CLAMP 20CM / 8" | 1 |
| 30 | SATINSKY DE BAKEY OCCLUSION CLAMP 25CM / 10" | 1 |
| 31 | SATINSKY DE BAKEY OCCLUSION CLAMP 27CM / 10 1/2" | 1 |
| 32 | DEBAKEY AORTIC CLAMP 27CM / 10 1/2" | 1 |
| 33 | DE BAKEY ATRAUMA TISSUE FCP T/C 1.5MM 19.5CM / 7 1/2" | 1 |
| 34 | DE BAKEY ATRAUMA TISSUE FCP T/C 1.5MM 24CM / 9 1/2" | 1 |
| 35 | DE BAKEY ANASTOMOSIS CLAMP 17CM / 6 3/4" | 1 |
| 36 | GLOVER ANASTOMOSIS CLAMP 47MM 21CM / 8 1/4" | 1 |
| 37 | DE BAKEY-BAHNSON ANEURYSM CLAMP 25CM / 10" | 1 |
| 38 | CASTANEDA NEONATAL CLAMP 13CM / 5" FIG. 1 | 1 |
| 39 | CASTANEDA NEONATAL CLAMP 13CM / 5" FIG. 3 | 1 |
| 40 | NEONATAL CLAMP FIG. 1 | 1 |
| 41 | DE BAKEY CLAMP STR 17CM / 6 3/4" | 1 |
| 42 | GLOVER ANASTOMOSIS CLAMP 63MM 19.5CM / 7 3/4" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **GENERAL SURGERY INSTRUMENTS SET** | **19** |
|  | **CONSISTING OF:** |  |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | SCALPEL HANDLE NO. 4 | 1 |
| 3 | SCALPEL HANDLE NO. 7 | 1 |
| 4 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 12 |
| 5 | AUVARD FIXED WEIGHT VAGINAL SPECULUM 70 X 38MM | 1 |
| 6 | BACKHAUS TOWEL FCP 13CM/5" | 12 |
| 7 | BALFOUR RETRACTOR 180MM OPENING COMPLETE | 1 |
| 8 | BABCOCK TISSUE FCP 18CM / 7" | 6 |
| 9 | BRODIE PROBE 16CM / 6 1/4" | 1 |
| 10 | BOZEMANN COTTON SWAB FCP SERR 26CM/10 1/4" | 2 |
| 11 | CRILE A/FCP STR 14CM/51/2" | 18 |
| 12 | CRILE A/FCP CVD 14CM/51/2" | 24 |
| 13 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 2 |
| 14 | DRESSING FCP STR 13CM/5" | 1 |
| a | DRESSING FCP STR 20CM/8" | 1 |
| 15 | DUPUY-WIESS NEEDLE 22CM/8 3/4" LEFT | 1 |
| 16 | DUPUY-WIESS NEEDLE 22CM/8 3/4" RIGHT | 1 |
| 17 | DOYEN MYOMA SCREW 17CM / 6 3/4" LARGE | 1 |
| 18 | CANNY RYALL BOUGIRE WITH FINE SCREW GUIDE 26", 10FG | 9 |
| 19 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 6 |
| 20 | WILSON VULSELLUM FORCEPS 1X1 TEETH 9 1/2" | 6 |
| 21 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 2 |
| 22 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 2 |
| 23 | HEYWOOD-SMITH POLYPUS FCP 20CM / 8" | 1 |
| 24 | SPENCER-WELLS A/ FCP STR B/J 20CM/8" | 4 |
| 25 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 4 |
| 26 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" CVD | 2 |
| 27 | LISTON URETHRAL SOUND SET OF 12 | 1 |
| 28 | OSCHSNER-KOCHER A/FCP STR (1X2 TH) 20CM/8" | 8 |
| 29 | GUYON CATHETER INTRODUCER STR 39CM / 15 1/2" | 2 |
| 30 | GUYON CATHETER INTRODUCER CVD 35CM / 13 3/2" | 2 |
| 31 | COLLIN UTERINE SOUND 28CM / 11" | 1 |
| 32 | SPENCER LIGATURE SCISSOR 12CM/4 3/4" | 1 |
| 33 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 34 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 1 |
| 35 | MAYO SCISSOR STR 17CM/6 3/4" | 1 |
| 36 | MAYO SCISSOR CVD 15CM/6" | 1 |
| 37 | MAYO SCISSOR CVD 17CM/6 3/4" | 1 |
| 38 | MAINGOT DISSECTING FORCEPS SERR 11" | 1 |
| 39 | MASSON NEEDLE HOLDER 27CM/10 1/2" | 2 |
| 40 | MAYO TISSUE FCP 23CM/9" | 1 |
| 41 | NAUNTON MORGAN PROCTOSCOPE | 1 |
| 42 | OCHSNER TROCAR 14.5CM/5 1/2" ( DIA 4.0 MM ) | 1 |
| 43 | PARKER RETRACTOR 13.5CM / 5 1/4" SET OF 2 | 1 |
| 44 | PROBE WITH EYE 16CM / 6 1/4" | 1 |
| 45 | PROBE WITH EYE 14.5CM / 5 3/4" | 10 |
| 46 | PANNETT DUODENAL FORCEPS STRAIGHT BLADES 2.5" | 2 |
| 47 | ROCHESTER PEAN A/FCP CVD (SERR) 16CM/6 1/4" | 18 |
| 48 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 6 |
| 49 | FORESTER SPONGE HOLDING FCP SERRATED CUR 25CM/10' | 6 |
| 50 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 36X28MM ) S/E | 2 |
| 51 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 52 | TREVES DISSECTION FORCEPS 1X2 TEETH 5" | 1 |
| 53 | RICHTER SCISSOR 14.5CM/5 3/4" | 2 |
| 54 | SIMS UTERINE SOUND MALLEABLE 32CM / 12 1/2" | 1 |
| 55 | SIMS UTERINE CURETTE SHARP D/E SET OF 3 | 3 |
| 56 | SIMS UTERINE CURETTE BLUNT D/E SET OF 3 | 3 |
| 57 | SOMER UTERINE ELEVATING FCP 23CM / 9" | 1 |
| 58 | OCHSNER TROCAR 14.5CM/5 1/2" ( DIA 4.0 MM ) | 1 |
| 59 | UNIVERSAL WIRE CUTTING SCISSOR T/C 12CM/4 3/4" | 1 |
| 60 | ZACHARY COPE ANASTOMOSIS CLAMP SET | 1 |
| 61 | SCHROEDER TENACULUM FCP 25CM / 10" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **VIENI SECTION SET** | 1 |
|  | **CONSISTING OF:** |  |
| 1 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 2 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 4 |
| 3 | ROCHESTER PEAN A/FCP CVD (SERR) 16CM/6 1/4" | 4 |
| 4 | SCALPEL HANDLE NO. 3 | 1 |
| 5 | SCALPEL HANDLE NO. 4 | 1 |
| 6 | GILLIES NERVE HOOK ( FIG. 1 ) 18CM/7" | 2 |
| 7 | SENN-MULLER RETRACTOR SHARP 16CM / 6 1/4" | 2 |
| 8 | MAYO-HEGAR NEEDLE HOLDER 16CM/6 1/4" | 1 |
| 9 | METZENBAUM SCISSOR CVD SH/BL 18CM/7" | 1 |
| 10 | METZENBAUM SCISSOR STR SH/BL 18CM/7" | 1 |
| 11 | OPERATING SCISSOR STR (FIG. 2) 14.5CM/5 3/4" SH/BL | 1 |
| 12 | TRAY KIDNEY 300X155X50MM | 1 |
| 13 | TISSUE FCP ( 1X2 TH ) 13CM/5" | 1 |
| 14 | DRESSING FCP STR 13CM/5" | 1 |
| 15 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (22X6MM) | 2 |
| 16 | LOTION BOWL 65X150MM, 650ML | 1 |
| 17 | LOTION BOWL 110X300MM | 1 |
| 18 | BACKHAUS TOWEL FCP 13CM/5" | 6 |
| 19 | LOTION BOWL 50X100MM, 250ML | 1 |