**GYNAECOLGY DEPTT**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **GENERAL SURGERY SET *CONSISTS OF:*** | **1** |
| 1 | YANKAUER SUCTION TUBE 27CM | 1 |
| 2 | DRESSING FCP STR 11.5CM/4 1/2" | 1 |
| 3 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 4 | DRESSING FCP STR 18CM/7" | 1 |
| 5 | SCALPEL HANDLE NO. 3 | 1 |
| 6 | SCALPEL HANDLE NO. 4 | 1 |
| 7 | SCALPEL HANDLE NO. 7 | 1 |
| 8 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 9 | MAYO DISSECTING SCISSORS 6 3/4" STR. TC TIP | 1 |
| 10 | MAYO DISSECTING SCISSORS 6 3/4" CVD. TC TIP | 1 |
| 11 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 12 | METZENBAUM SCISSOR STR BL/BL T/C 20CM//8" | 1 |
| 13 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 20CM/8" | 1 |
| 14 | DRESSING FCP STR 18CM/7" | 1 |
| 15 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 16 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 17 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 18 | CUSHING DRESSING FCP STR 18CM/7" | 1 |
| 19 | CUSHING TISSUE FCP 17.5CM/7" | 1 |
| 20 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 4 |
| 21 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 22 | ROCHESTER PEAN A/FCP CVD (SERR) 16CM/6 1/4" | 4 |
| 23 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 4 |
| 24 | OSCHSNER-KOCHER A/FCP CVD (1X2 TH) 20CM/8" | 4 |
| 25 | MIXTER-SLIM LIGAUTRE FCP 23CM/9" | 1 |
| 26 | MIXTER BABY DISSECTING FCP 14CM/5 1/2" | 1 |
| 27 | BACKHAUS TOWEL FCP 13CM/5" | 12 |
| 28 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 29 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 30 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 1 |
| 31 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 1 |
| 32 | MAYO-HEGAR NEEDLE HOLDER T/C 26CM/10 1/2" | 1 |
| 33 | POOLE SUCTION TUBE ( 10MM ) 22CM/8 3/4" STR | 1 |
| 34 | PARKER-LANGENBECK RETRACTOR ( U.S. ARMY )21CM / 8 1/4" SET OF 2 | 1 |
| 35 | ABDOMINAL SPATULA MALLEABLE 33CM/13" ( 30MM ) | 1 |
| 36 | DEAVER RETRACTOR 30CM/12" ( 25MM ) | 2 |
| 37 | DEAVER RETRACTOR 30CM/12" ( 38MM ) | 2 |
| 38 | DEAVER RETRACTOR 30CM/12" ( 50MM ) | 2 |
| 39 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X40MM ) S/E | 2 |
| 40 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X50MM ) S/E | 2 |
| 41 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (22X6MM) | 2 |
| 42 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (44X13MM) | 2 |
| 43 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (64X25MM) | 2 |
| 44 | BALFOUR RETRACTOR 180MM OPENING COMPLETE | 1 |
| 45 | LAHEY GALL STONE CLAMPS 19CM/7 1/2" | 1 |
| 46 | MIXTER DISSECTING, LIGAUTRE FCPS 22CM/8 3/4" | 1 |
| 47 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 4 |
| 48 | ALLIS TISSUE FCP 5X6 TH 19CM / 7 1/2" | 4 |
| 49 | BABCOCK TISSUE FCP 16CM / 6 1/4" | 2 |
| 50 | BABCOCK TISSUE FCP 20CM / 8" | 2 |
| 51 | DEBAKEY TISSUE FCP 1.5MM 18CM/7" | 1 |
| 52 | DOYEN INTESTINAL CLAMP STR 21CM / 8 1/4" OBLIQUE SERR | 2 |
| 53 | DOYEN INTESTINAL CLAMP CVD 21CM / 8 1/4" OBLIQUE SERR | 2 |
| 54 | MAYO-ROBSON INTESTINAL CLAMP STR 21CM / 8 1/4" | 2 |
| 55 | MAYO-ROBSON INTESTINAL CLAMP CVD 21CM / 8 1/4" | 2 |
| 56 | DENIS BROWNE INTESTINAL HOLDING FORCEP 18CM | 2 |
| 57 | LANE TISSUE FCP ( 1X2 TH ) 18CM/7" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **FINE SURGERY INSTRUMENTS SET**  ***SET CONSISTS OF:*** |  |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | SCALPEL HANDLE NO. 4 | 1 |
| 3 | OPERATING SCISSOR STR (FIG. 3) 16CM/6 1/4" SH/SH | 1 |
| 4 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 5 | MAYO SCISSOR CVD 14.5CM/5 3/4" | 1 |
| 6 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 7 | STEVEN TENOTOMY EYE SCISSOR BLUNT STR 11.5CM/4 1/2" | 1 |
| 8 | STEVEN TENOTOMY EYE SCISSOR BLUNT CVD 11.5CM/4 1/2" | 1 |
| 9 | ADSON-DRESSING FCP 12CM4 3/4" | 1 |
| 10 | ADSON DRESSING FORCEPS SERR 15CM | 1 |
| 11 | TISSUE FCP ( 1X2 TH ) 14.5CM/5 1/2" | 1 |
| 12 | TISSUE FCP ( 1X2 TH ) 20CM/8" | 1 |
| 13 | HARTMANN HAEMOSTATIC FCP STR (SERR) 10CM/4" | 2 |
| 14 | HARTMANN HAEMOSTATIC FCP CVD (SERR) 10CM/4" | 2 |
| 15 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 16 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 17 | MOYNIHAN GALL DUCT CLAMP 23CM/9" | 2 |
| 18 | MOYNIHAN GALL DUCT CLAMP 24CM/9 1/2" | 2 |
| 19 | BACKHAUS TOWEL FCP 11CM/41/2" | 8 |
| 20 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 21 | SENN-MULLER RETRACTOR BLUNT 16CM / 6 1/4" | 1 |
| 22 | LANGENBECK RETRACTOR 21.5CM/8 1/2" (44X13MM) | 2 |
| 23 | CZERNY RETRACTOR 18CM / 7" | 1 |
| 24 | ALM RETRACTOR 10CM / 4" BLUNT | 1 |
| 25 | JANSEN RETRACTOR 10CM / 4" SHARP | 1 |
| 26 | TUFFIER ABDOMINAL SPATULA MALLEABLE 20CM/8"( 17X25MM ) | 1 |
| 27 | DERF NEEDLE HOLDER 12CM/4 3/4" SERR | 1 |
| 28 | WEBSTER NEEDLE HOLDER SMOOTH 13CM/5" | 1 |
| 29 | MAYO-HEGAR NEEDLE HOLDER 20CM/8" | 1 |
| 30 | ADSON NEEDLE HOLDER 18CM/7" | 1 |
| 31 | FRAZIER/McGUCKIN SUCTION TUBE 6 FR. 30Ø, 19CM | 2 |
| 32 | TRACHEAL RETRACTOR 2 PRONG BLUNT 16CM/6 1/4" LARGE CVD | 1 |
| 33 | GILLIES NERVE HOOK ( FIG. 1 ) 18CM/7" | 1 |
| 34 | GILLIES NERVE HOOK ( FIG. 2 ) 18CM/7" | 1 |
| 35 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |
|  |  |  |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | ***D & C INSTRUMENTS SET***  ***SET CONSISTS OF:*** | 1 |
| *1* | KEVORKIAN BIOPSY FCP 6MM 24CM / 9 1/2" | 1 |
| *2* | SIMS UTERINE SOUND MALLEABLE 32CM / 12 1/2" | 3 |
| *3* | SIMS UTERINE CURETTE SHARP MALLEABLE 25CM FIG. 1 FLAT HANDLE | 2 |
| *4* | TEALE VULSELLUM FORCEPS 23CM | 1 |
| *5* | VAN BUREN DILATOR 28CM / 11" CH. 10 | 1 |
| *6* | SIMS VAGINAL SPECULUM 70MM X 30 X 35MM | 1 |
| *7* | HEGAR DILATOR 3 / 4MM - 17 / 18MM SET OF 8 | 1 |
| *8* | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| *9* | HEYWOOD-SMITH POLYPUS FCP 25CM / 10" | 1 |
| *10* | RHEINSTADTER FLUSHING CURRETTE SH. 7.9MM, 29CM | 1 |
| *11* | RHEINSTADTER FLUSHING CURRETTE SH. 11.1MM, 29CM | 1 |
| *12* | RHEINSTADTER FLUSHING CURRETTE SH. 14.3MM, 29CM | 1 |
| *13* | RHEINSTADTER FLUSHING CURRETTE BL. 7.9MM, 29CM | 1 |
| *14* | RHEINSTADTER FLUSHING CURRETTE BL. 11.1MM, 29CM | 1 |
| *15* | RHEINSTADTER FLUSHING CURRETTE BL. 14.3MM, 29CM | 1 |
|  |  |  |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | ***CAESARIAN SECTION INSTRUMENTS SET***  ***SET CONSISTS OF:*** |  |
| 1 | WRIGLEY OBSTETRICAL FCP 28CM / 11" | 1 |
| 2 | DOYEN RETRACTOR 25CM/10" ( 50X85MM ) | 1 |
| 3 | KIDNEY TRAY 250X120X40MM | 1 |
| 4 | HEGAR DILATOR 3 / 4MM - 17 / 18MM SET OF 8 | 1 |
| 5 | GREEN-ARMTAGE FCP 21CM / 8 1/4" | 4 |
| 6 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 2 |
| 7 | BACKHAUS TOWEL FCP 13CM/5" | 4 |
| 8 | ALLIS TISSUE FCP 5X6 TH 19CM / 7 1/2" | 4 |
| 9 | MAYO-HEGAR NEEDLE HOLDER 18CM/7" | 1 |
| 10 | SCALPEL HANDLE NO. 4 | 1 |
| 11 | DRESSING FCP STR 18CM/7" | 2 |
| 12 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 2 |
| 13 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 14 | MAYO SCISSOR STR 17CM/6 3/4" | 1 |
| 15 | DRESSING FCP STR 16CM6 1/4" | 2 |
| 16 | ROCHESTER PEAN A/FCP CVD (SERR) 24CM/9 1/2" | 2 |
| 17 | ALLIS TISSUE FCP 5X6 TH 25CM / 10" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **VAGINAL HYSTRECTOMY SET**  ***SET CONSISTS OF:*** |  |
| 1 | TRAY KIDNEY 200 X 35MM | 1 |
| 2 | TRAY KIDNEY 300 X 155 X 50MM | 1 |
| 3 | SIMS VAGINAL SPECULUM 60MM X 25 X 30MM | 1 |
| 4 | LANDAU VAGINAL SPECULUM 100 X 28MM 29CM / 11 1/2" | 2 |
| 5 | TAELE VULSELLUM FORCEPS 23CM | 2 |
| 6 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 6 |
| 7 | ROCHESTER PEAN A/FCP STR (SERR) 20CM/8" | 4 |
| 8 | HEANEY HYSTERECTOMY FCP DOUBLE TEETH 23.5CM/9" | 6 |
| 9 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 1 |
| 10 | SCALPEL HANDLE NO. 3 | 1 |
| 11 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 12 | DRESSING FCP STR 20CM/8" | 1 |
| 13 | TISSUE FCP ( 1X2 TH ) 20CM/8" | 1 |
| 14 | CUSCO VAGINAL SPECULUM 85MM X 35MM CENTRE SCREW | 1 |
| 15 | METZENBAUM SCISSOR CVD BL/BL 20CM/8" | 1 |
| 16 | METZENBAUM FINE SCISSOR STR BL/BL 20CM/8" | 1 |
| 17 | VAN BUREN DILATOR 28CM / 11" CH. 8 | 1 |
| 18 | SIMS UTERINE SOUND MALLEABLE 32CM / 12 1/2" | 1 |
| 19 | ALLIS TISSUE FCP 5X6 TH 19CM / 7 1/2" | 4 |
| 20 | ALLIS TISSUE FCP 5X6 TH 25CM / 10" | 4 |
| 21 | BACKHAUS TOWEL FCP 13CM/5" | 4 |
| 22 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **DELIVERY SET**  ***SET CONSISTS OF:*** |  |
| 1 | BRAUN-STADLER SCISSOR 22CM/8 1/2" | 1 |
| 2 | MAYO SCISSOR STR 15CM/6" | 1 |
| 3 | DRESSING FCP STR 18CM/7" | 1 |
| 4 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 5 | MAYO-HEGAR NEEDLE HOLDER 16CM/6 1/4" | 1 |
| 6 | MAYO-HEGAR NEEDLE HOLDER 20CM/8" | 1 |
| 7 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 8 | ROCHESTER PEAN A/FCP STR (SERR) 20CM/8" | 4 |
| 9 | SIMS VAGINAL SPECULUM 60MM X 25 X 30MM | 2 |
| 10 | KIDNEY TRAY 10" | 1 |
| 11 | BOWL 8" | 1 |
| 12 | BOWL 4" | 1 |
| 13 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 4 |
| 14 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 4 |
| 15 | FEMALE CATHETER 15CM / 6" 6CH | 2 |
| 16 | WRIGLEY OBSTETRICAL FCP 28CM / 11" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** |  | **QTY.** |
|  | **ABDOMINAL HYSTRECTOMY SET**  ***SET CONSISTS OF:*** |  |
| 1 | RAMPLEY SPONGE HOLDING FCP 24CM/9 1/2" | 5 |
| 2 | BACKHAUS TOWEL FCP 9CM/31/2" | 6 |
| 3 | OPERATING SCISSOR STR (FIG. 1) 16CM/6 1/4" BL/BL | 1 |
| 4 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 5 | MAYO SCISSOR CVD 17CM/6 3/4" | 1 |
| 6 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 7 | CRILE A/FCP CVD 14CM/51/2" | 10 |
| 8 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 5 |
| 9 | ROBERTS ARTERY FORCEPS CURVED SERR 250MM | 5 |
| 10 | OSCHSNER-KOCHER A/FCP STR (1X2 TH) 20CM/8" | 5 |
| 11 | OSCHSNER-KOCHER A/FCP CVD (1X2 TH) 20CM/8" | 5 |
| 12 | ALLIS TISSUE FCP 4X5 TH 15CM / 6" | 2 |
| 13 | LANE TISSUE FCP ( 1X2 TH ) 15CM/6" | 2 |
| 14 | BABCOCK TISSUE FCP 16CM / 6 1/4" | 2 |
| 15 | MAYO-HEGAR NEEDLE HOLDER T/C 16CM/6 1/4" | 1 |
| 16 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 2 |
| 17 | MAYO-HEGAR NEEDLE HOLDER T/C 24CM/9 1/2" | 1 |
| 18 | KOCHER-LANGENBECK RETRACTOR 21.5CM/8 1/2" ( 55X11MM) | 2 |
| 19 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 36X28MM ) S/E | 2 |
| 20 | KELLY RETRACTOR 26CM/10 1/4" ( 50X65MM ) | 1 |
| 21 | DEAVER RETRACTOR 30CM/12" ( 38MM ) | 1 |
| 22 | GOSSET RETRACTOR 160MM OPENING WITH CENTRE BLADE 59X57MM, FRAME 175X200MM | 1 |
| 23 | POTTS-SMITH DRESSING FCP 21CM/8 1/4" | 1 |
| 24 | RUSSIAN TISSUE FCP 20CM/8" | 1 |
| 25 | TISSUE FCP ( 2X3 TEETH )( MODEL USA ) 14.5CM/5 1/2' | 1 |
| 26 | DRESSING FCP ( MODELL USA ) 14.5CM/5 3/4" | 1 |
| 27 | DRESSING FCP ( MODELL USA ) 14.5CM/5 3/4" | 1 |
| 28 | MCINDOE DRESSING FCP 15CM/6" | 1 |
| 29 | TISSUE FCP ( 1X2 TH ) 20CM/8" | 1 |
| 30 | SCALPEL HANDLE NO. 4L CUR | 1 |
| 31 | SCALPEL HANDLE NO. 4 | 2 |
| 32 | SCALPEL HANDLE NO. 7 | 1 |
| 33 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 34 | POOLE SUCTION TUBE ( 10MM ) 22CM/8 3/4" STR | 1 |
| 35 | DOYEN MYOMA SCREW 17CM / 6 3/4" LARGE | 1 |
| 36 | KIDNEY TRAY 330MM | 1 |
| 37 | KIDNEY TRAY 250MM | 2 |
| 38 | GALLIPOT 9 OZ | 2 |
| 39 | GALLIPOT 12 OZ | 1 |
| 40 | DIATHERMY QUIVER AUTOCLAVABLE | 1 |
| 41 | MAYO SAFETY PIN 14CM/5 1/2" | 3 |
| 42 | SUCTION HOSE SILICON DIA 7MM | 3 |
|  |  |  |