Neuro Surgery

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Brain retractor system** | | |  | |
| **S.no** | **Description** | | **Qty** | |
|  |  | |  | |
| 1 | Yasargil/leyla self-retaining retr2-arm | | 1 | |
| 2 | Brain spatula flat mall 11&13mm178mm | | 2 | |
| 3 | Brain spatula flat mall15&18mm178mm | | 2 | |
| 4 | Olivecrona spatulaflatflex7&9mm178mm | | 1 | |
| 5 | Olivecrona brain spatula 18 a.22mm | | 1 | |
| 6 | Nerve stimulator only w/o cable | | 1 | |
| 7 | Two-wire stimulation cable 292mm 3.5m | | 1 | |
| 8 | Mains conn.cable 1.5m long f.gn24 | | 1 | |
| 9 | Bipolar coag. Forceps 0.6mm 200mm | | 1 | |
|  | **Laminectomy frame** | | | |
| 1 | Caspar lami retractor tot w/5 blades | | 1 | |
|  |  |  | |  | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Electric craniotome consisting of:** | | |  |
| **S.no** | **Description** | **Qty** |
|  |  |  |
| 1 | Micro speed electric control unit with irrigation pump | **1** |
| 2 | Main cable 5m long | **1** |
| 3 | Double pedal foot control | **1** |
| 4 | High speed motor for all hi-line handpeices | **1** |
| 5 | Motor cable 3m | **1** |
| 6 | Hi-line craniotome | **1** |
| 7 | Hilan dura guard small | **1** |
| 8 | Hilan dura guard medium | **1** |
| 9 | Angle h/p small | **1** |
| 10 | Angle h/p medium | **1** |
| 11 | Angle h/p large | **1** |
| 12 | Straight h/p small | **1** |
| 13 | Straight h/p medium | **1** |
| 14 | Straight h/p large | **1** |
| 15 | Hilan perforator driver | **1** |
| 16 | Hudson chuck f/gb102r/gb169r/ga522r | **1** |
| 17 | Cranial perforator 6/9 mm hudson shank | **1** |
| 18 | Cranial perforator 9/12 mm hudson shank | **1** |
| 19 | Spare cutters | **1** |
| 20 | Spare cutters | **1** |
|  | Craniotome burr | **1** |
|  | Craniotome burr | **1** |
| 21 | **Rozen burrs for h/p gb530r/gb531r/gb532r/gb533r/gb534r/gb535r** |  |
| 22 | Hi-line xs rosen burr | **1** |
| 23 | Hi-line xs rosen burr | **1** |
| 24 | Hi-line xs rosen burr | **1** |
| 25 | Hi-line xs rosen burr | **1** |
| 26 | Hi-line xs rosen burr | **1** |
| 27 | Hi-line xs rosen burr | **1** |
| 28 | Hi-line xs rosen burr | **1** |
| 29 | Hi-line xs rosen burr | **1** |
| 30 | Hi-line xs rosen burr | **1** |
| 31 | Hi-line xs rosen burr | **1** |
| 32 | Hi-line xs rosen burr | **1** |
| 33 | Hi-line xs rosen burr | **1** |
| 34 | Hi-line xs rosen burr | **1** |
| 35 | Hi-line xs rosen burr | **1** |
| 36 | Hi-line xs rosen burr | **1** |
| 37 | Hi-line xs rosen burr | **1** |
| 38 | Hi-line xs rosen burr | **1** |
| 39 | Hi-line xs rosen burr | **1** |
| 40 | Hi-line xs rosen burr | **1** |
| 41 | Hi-line xs rosen burr | **1** |
| 42 | Hi-line xs rosen burr | **1** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | |  |
|  |  | **Aneurysm clips/appliers** | |  |
|  |  |  | |  |
| **S.no** | **Description** | | **Qty** | | |
| 1 | Caspar applier f/mini ti-clipsstr146mm | | 1 | | |
| 2 | Caspar applier f/std ti-clipsstr146mm | | 1 | | |
| 3 | Yasargil applier f/mini ti-clips170mm | | 1 | | |
| 4 | Yasargil clip app. F/mini ti-clips205mm | | 1 | | |
| 5 | Yasargil clip appl. F/mini ti-clip225mm | | 1 | | |
| 6 | Yasargil clip app. F/mini ti 15deg90mm | | 1 | | |
| 7 | Yasargil clip app. F/mini ti 15deg 110mm | | 1 | | |
| 8 | Yasargil applier f/std ti-clips 170mm | | 1 | | |
| 9 | Yasargil clip app.r f/std ti-clips205mm | | 1 | | |
| 10 | Titanium clip applierf/std254mm | | 1 | | |
| 11 | Yasargil clip app. F/std ti 15deg90mm | | 1 | | |
| 12 | Yasargil clip app. F/std ti 15 deg 110mm | | 1 | | |
| 13 | Xs mini clip applying fcps ti 90mm | | 1 | | |
| 14 | Xs mini clip applying fcps ti110mm | | 1 | | |
| 15 | Xs std clip applying fcps ti 90mm | | 1 | | |
| 16 | Xs std clip applying fcps ti110mm | | 1 | | |
|  |  | |  | | |
| 17 | Yasargil ti perm clip 3.5mm fen 3/8.1 | | 1 | | |
| 18 | Yasargil ti perm clip 3.5mm fen 4/9.1 | | 1 | | |
| 19 | Yasargil ti perm clip 3.5mm fen 5/10.1 | | 1 | | |
| 20 | Yasargil ti perm std-clip3.5fenstr6mm | | 1 | | |
| 21 | Yasargil tiperm std-clip3.5fenfdang5mm | | 1 | | |
| 22 | Yasargil ti perm std-clip fwd-ang6.1mm | | 1 | | |
| 23 | Yasargil tiperm std-clip3.5fenfdang5mm | | 1 | | |
| 24 | Yasargil ti perm std-clip3.5fenstr9mm | | 1 | | |
| 25 | Yasargil clip std.permanent 9.0mm | | 1 | | |
| 26 | Yasargil ti perm std3.5fenfdang 7.5mm | | 1 | | |
| 27 | Yasargil ti perm std-clip fwd-ang 8mm | | 1 | | |
| 28 | Yasargil tiperm stdclip3.5fenrtang7.5mm | | 1 | | |
| 29 | Yasargil tiperm std-clip 3.5fenstr 12mm | | 1 | | |
| 30 | Yasargil tiperm stdclip3.5fenfdang10mm | | 1 | | |
| 31 | Yasargil ti perm std-clipfwd-ang10.6mm | | 1 | | |
| 32 | Yasargil clip std.permanent 10.6mm | | 1 | | |
| 33 | Yasargil ti perm clip 5.0mm fen 3/98 | | 1 | | |
| 34 | Yasargil ti perm clip 5.0mm fen 4/10.8 | | 1 | | |
| 35 | Yasargil ti perm clip 5.0mm fen 5/11.8 | | 1 | | |
| 36 | Yasargil ti perm std-clip5.0fenstr6mm | | 1 | | |
| 37 | Yasargil ti std-clip 45dg 5.0fen 5mm | | 1 | | |
| 38 | Yasargil tiperm stdclip5.0fenrtang 5mm | | 1 | | |
| 39 | Yasargil ti perm std-clip5.0fenstr9mm | | 1 | | |
| 40 | Yasargil tiperm stdclip5.0fenfdang7.5mm | | 1 | | |
| 41 | Yasargil tiperm stdclip5.0fenrtang7.5mm | | 1 | | |
| 42 | Yasargil tiperm stdclip5.0fenfdang 10mm | | 1 | | |
| 43 | Yasargil ti perm mini-clip strnarr3mm | | 1 | | |
| 44 | Yasargil ti perm mini-clipslt-cvdnarr | | 1 | | |
| 45 | Yasargil ti perm mini-clip strnarr5mm | | 1 | | |
| 46 | Yasargil ti perm minislt-cvdnarr4.7mm | | 1 | | |
| 47 | Yasargil ti perm mini-clip cvdnarr4mm | | 1 | | |
| 48 | Yasargil ti perm mini-clip str 3mm | | 1 | | |
| 49 | Yasargil ti perm mini-clip str 5mm | | 1 | | |
| 50 | Yasargil ti perm mini-clip slt-cvd 4mm | | 1 | | |
| 51 | Yasargil ti perm mini-clipslt-cvd4.7mm | | 1 | | |
| 52 | Yasargil ti perm mini-cliplgt-cvd4.0mm | | 1 | | |
| 53 | Yasargil ti perm mini-clip cvd 3.9mm | | 1 | | |
| 55 | Yasargil ti perm mini-clip lat-ang 5mm | | 1 | | |
| 57 | Yasargil ti perm mini-cliplat-cvd6.3mm | | 1 | | |
| 59 | Yasargil ti perm mini-clip str 7mm | | 1 | | |
| 61 | Yasargil ti perm mini-cliplgt-cvd6.6mm | | 1 | | |
| 63 | Yasargil ti perm mini-clip cvd 5mm | | 1 | | |
| 65 | Yasargil ti perm mini-cliplgt-cvd5.2mm | | 1 | | |
| 67 | Yasargil ti perm mini-clip bayo 4mm | | 1 | | |
| 69 | Yasargil ti perm mini-clip bayo 7mm | | 1 | | |
| 71 | Yasargil ti perm std-clip str 7mm | | 1 | | |
| 73 | Yasargil ti perm std-clipslt-cvd 6.5mm | | 1 | | |
| 75 | Yasargil ti perm std-clip cvd 5.4mm | | 1 | | |
| 77 | Yasargil ti perm std-clip lat-ang 7mm | | 1 | | |
| 79 | Yasargil ti perm std-cliplat-cvd 8.6mm | | 1 | | |
| 81 | Yasargil clip std.permanent 8.6mm | | 1 | | |
| 83 | Yasargil ti perm std-clip bayo 7mm | | 1 | | |
| 85 | Yasargil ti perm std-clip str 9mm | | 1 | | |
| 87 | Yasargil clip std.permanent 9.0mm | | 1 | | |
| 89 | Yasargil ti perm std-clipslt-cvd 8.3mm | | 1 | | |
| 91 | Yasargil clip std.permanent 8.3mm | | 1 | | |
| 93 | Yasargil ti perm std-clip cvd 6.4mm | | 1 | | |
| 95 | Yasargil ti perm std-clip bayo 9mm | | 1 | | |
| 97 | Yasargil ti perm std-clip bayo 12mm | | 1 | | |
| 99 | Yasargil ti perm std-clip str 11mm | | 1 | | |
| 101 | Yasargil ti perm std-cliplat-ang11.4mm | | 1 | | |
| 103 | Yasargil ti perm std-clipslt-cvd10.2mm | | 1 | | |
| 105 | Yasargil ti perm std-clipfwd-ang11.8mm | | 1 | | |
| 107 | Yasargil ti perm std-clip cvd 8mm | | 1 | | |
| 109 | Yasargil ti perm stdrt ang 2.5bayo 5mm | | 1 | | |
| 111 | Yasargil ti perm stdrt ang 3.5bayo 5mm | | 1 | | |
| 113 | Yasargil ti perm stdrt ang 4.5bayo 5mm | | 1 | | |
| 115 | Yasargil ti perm ste-clip lat-ang7.8mm | | 1 | | |
| 116 | Yasargil ti perm std-clip str 15mm | | 1 | | |
| 118 | Yasargil ti perm std-clipslt-cvd13.7mm | | 1 | | |
| 120 | Yasargil ti perm std-clip cvd 10.3mm | | 1 | | |
| 121 | Yasargil ti perm std-clipslt-cvd15.3mm | | 1 | | |
| 123 | Yasargil ti perm std-clip str 20mm | | 1 | | |
| 124 | Yasargil ti perm std-clip str 17.5mm | | 1 | | |
| 126 | Yasargil ti perm mini-clip fwd-ang 7mm | | 1 | | |
| 128 | Yasargil ti perm mini-cliplat-ang4.7mm | | 1 | | |
| 130 | Yasargil ti perm std-clipfwd-ang 9mm | | 1 | | |
| 132 | Yasargil ti perm std-clip rt-ang 5mm | | 1 | | |
| 133 | Yasargil ti perm std-clip rt-ang 7mm | | 1 | | |
| 135 | Yasargil ti perm std-clip rt-ang 10mm | | 1 | | |
| 137 | Yasargil ti perm std-clipstrg-cvd7.4mm | | 1 | | |
| 139 | Yasargil ti perm std-clipstrg-cvd8.4mm | | 1 | | |
| 141 | Yasargil ti perm std strg-cvd 10.5mm | | 1 | | |
| 143 | Yasargil ti perm std-clip over-ang 7mm | | 1 | | |
| 145 | Yasargil ti perm std-clip spoon 9.3mm | | 1 | | |
| 147 | Yasargil ti perm std-clip spoon 11.3mm | | 1 | | |
| 149 | Yasargil ti perm std-clip up-ang 6.7mm | | 1 | | |
| 151 | Yasargil ti perm std-clip up-ang 9mm | | 1 | | |
| 153 | T-bar clip std.perm.jaws 5mm 45° | | 1 | | |
| 155 | T-bar clip std.perm.jaws 9mm 45° | | 1 | | |
| 157 | T-bar clip std.perm.jaws 5mm 90° | | 1 | | |
| 159 | T-bar clip std.perm.jaws 9mm 90° | | 1 | | |
| 161 | T-bar clip std.perm.jaws 13mm 90° | | 1 | | |
| 163 | Yasargil ti booster clip | | 1 | | |
| 165 | Yasargil clip std.perm.window 5/3mm | | 1 | | |
| 167 | Yasargil clip std.perm.fenestrated 3.0mm | | 1 | | |
| 169 | Yasargil clips std.permanent 7.0mm | | 1 | | |
| 171 | Yasargil clip std.perm.window 5/3.0mm | | 1 | | |
| 173 | Yasargil clips std.permanent 6.8mm | | 1 | | |
| 175 | Yasargil clips std.permanent 9.0mm | | 1 | | |
| 177 | Yasargil clips std.permanent 11.0mm | | 1 | | |
| 179 | Yasargil clips std.permanent 15.0mm | | 1 | | |
| 181 | Yasargil clips std.permanent 20.0mm | | 1 | | |
| 183 | Yasargil clips std.permanent 17.5mm | | 1 | | |
| 185 | Yasargil clips std.perman.7.0mm upwards | | 1 | | |
| 186 | Storage tray for applying forceps | | 1 | | |
| 187 | Clip tray | | 1 | | |
|  |  |  | |  |

**Transphenoidal pituatary set**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.no** | **Description** | | **Qty.** | |
|  |  | |  | |
|  |  | |  | |
| 1 | Foerster sponge fcps serr str 242mm e | | **2** | |
| 2 | Backhaus towel holding forceps,110mm | | **4** | |
| 3 | Scalpel handle #3 e | | **1** | |
| 4 | Toennis-adson scissors del cvd175mm | | **1** | |
| 5 | Surgical scissors str s/b145mm e | | **1** | |
| 6 | Tissue forceps str 1x2 145mm e | | **2** | |
| 7 | Gerald dissect.forceps str.1x2t.175mm | | **1** | |
| 8 | Gruenwald forceps bay.sh.w/o.t.200mm | | **1** | |
| 9 | Kocher-langenbeck retr 41x11mm216mm | | **2** | |
| 10 | Crile-wood needle holder 150mm | | **1** | |
| 11 | Cottle chisl/osteo.w/dpth-mrk4mm178mm | | **1** | |
| 12 | Cottle chisel/osteotomew/mrk9mm178mm | | **1** | |
| 13 | Cottle osteotome 6mm178mm | | **1** | |
| 14 | Cottle mallet flat/rnd235g30mm184mm | | **1** | |
| 15 | Freer elevator s/b185mm | | **1** | |
| 16 | Cottle elevator dbend 203mm | | **1** | |
| 17 | Bone raspatory 8mm #2 165mm | | **1** | |
| 18 | Hartmann nasal speculum light 145mm | | **1** | |
| 19 | Cushing-landolt speculum 70x15mm | | **1** | |
| 20 | Cushing-landolt speculum 90x15mm | | **1** | |
| 21 | Cushing-landolt speculum 110x15mm | | **1** | |
| 22 | Landolt spreader f/speculum ok100r-02r | | **1** | |
| 23 | Kerrison 130dg-up 2mm 180mm | | **1** | |
| 24 | Kerrison 130dg-up 3mm 180mm | | **1** | |
| 25 | Kerrison 130dg-up 4mm 180mm | | **1** | |
| 26 | Landolt tumor forceps blunt 9mm200mm | | **1** | |
| 27 | Yasargil rongeur str d:3.5/190mm | | **1** | |
| 28 | Weiblakesley rongeurstr3.6mm121mm | | **1** | |
| 29 | Landolt diss mallrtblunt dwn261mm | | **1** | |
| 30 | Landolt diss mallrtblunt up261mm | | **1** | |
| 31 | Landolt curettemallspatula-tip260mm | | **1** | |
| 32 | Landolt curette mall rnd-tip260mm | | **1** | |
| 33 | Landolt curette mall rnd-tip260mm | | **1** | |
| 34 | Nicola curette mall lft-cut 260mm | | **1** | |
| 35 | Nicola curette mall ang 260mm | | **1** | |
| 36 | Hardy curette mall d:4/260mm | | **1** | |
| 37 | Hardy curette mall d:6/260mm | | **1** | |
| 38 | Landolt raspatory d:3.2/260mm | | **1** | |
| 39 | Yasargil movable mirror d:6mm | | **1** | |
| 40 | Fergusson suct.cann d:2.5mm work.l.200mm | | **1** | |
| 41 | Fergusson suct.cann d:4.0mm work.l.200mm | | **1** | |
| 42 | Laboratory dish 0.16 l | | **1** | |
| 43 | Kidney tray stainless steel 250mm | | **1** | |
|  |  |  | |  | |

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Pneumatic high speed neuro drill system with Craniotome & perforators** | |  |
| **S.no** | **Description** | **Qty** |
| 1 | Pneum.hose 5m din-nipple/aag-large | **1** |
| 2 | Foot control f/pneumatic motors | **1** |
| 3 | Pneum.hose 3.0m aesc.-draeger/aag-small | **1** |
| 4 | Hilan xs high speed pneumatic motor | **1** |
| 5 | Hi-line xs straight handpiece ii | **1** |
| 6 | Hi-line xs angled handpiece ii | **1** |
| 7 | Hi-line xs craniotome handpiece | **1** |
| 8 | Hi-line xs fixed duraguard ii | **1** |
| 9 | Hi-line xs fixed duraguard iii | **1** |
| 10 | Hilan pneumatic perforator | **1** |
| 11 | Hudson chuck f/gb102r/gb169r/ga522r | **1** |
| 12 | Cranial perforator 6/9mm hudson shank | **1** |
| 13 | Cranial perforator 9/12mm hudson shank | **1** |
| 14 | Hi-line xs craniotome cutter ii | **25** |
| 15 | Hi-line xs craniotome cutter iii | **25** |
| 16 | Pressure regulator w/quick lock coupling | **1** |
| 17 | Hi-line xs rosen burr ii d2.7mm | **10** |
| 18 | Hi-line xs rosen burr ii d1.8mm | **10** |
| 19 | Hi-line xs diamond burr ii d1.8mm | **5** |
| 20 | Hi-line xs diamond burr ii d2.3mm | **5** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  | |
|  |  | **CRANIOTOMY INSTRUMENT SET** | | |
| **S.No** | **DESCRIPTION** | | | **QTY.** | |
| 1 | SCALPEL HANDLE #3 E | | | **1** | |
| 2 | SCALPEL HANDLE #4 E | | | **1** | |
| 3 | BACKHAUS TOWEL CLAMP 135MM E | | | **6** | |
| 4 | RAMPLEY DRESSING FORCEPS,250MM | | | **2** | |
| 5 | DANDY DELICATE FORCEPS CVD140MM | | | **25** | |
| 6 | HUDSON HAND DRILL SET COMPLETE | | | **1** | |
| 7 | TWIST DRILL 2MM DIA | | | **1** | |
| 8 | HOOK HANDLE F/WIRE SAWS | | | **3** | |
| 9 | GIGLI WIRE SAW FINE6-WIRES400MM | | | **5** | |
| 10 | DEMARTEL CONDF/WIRE SAWSFLEX350MM | | | **1** | |
| 11 | ELEVATOR CAIRNS 178MM | | | **2** | |
| 12 | WEITLANER RETRACTOR 3X4T. SH.130MM | | | **1** | |
| 13 | OLIVECRONA BONE RONGEUR CVD 205MM | | | **1** | |
| 14 | LUER-STILLE BONE RONGEUR CVD 225MM | | | **1** | |
| 15 | OLIVECRONA SPATULAFLATFLEX7&9MM178MM | | | **1** | |
| 16 | OLIVECRONA SPATULA FLAT FLEX 11&13MM | | | **1** | |
| 17 | OLIVECRONA BRAIN SPATULA 15 A.18MM | | | **1** | |
| 18 | OLIVECRONA BRAIN SPATULA 18 A.22MM | | | **1** | |
| 19 | RASPATORY MCKISSOCK STR.197MM | | | **2** | |
| 20 | DAVIS VASCULAR SPATULA 245MM | | | **1** | |
| 21 | FERG-FRAZIER SUCT 7FR110MM WRK-LGT | | | **1** | |
| 22 | FERG-FRAZIER SUCT 9FR 3/110MMWRK-LGTH | | | **1** | |
| 23 | FERG-FRAZIER SUCT 12FR 110MM WRK-LGT | | | **1** | |
| 24 | KRAYENBUEHL NERV HKSHRTBALL-TIP184MM | | | **2** | |
| 25 | LOVE NERVE ROOT RETRACTOR STR 220MM | | | **2** | |
| 26 | SCHMIEDEN-TAYLOR DURA SCISSORS 155MM | | | **2** | |
| 27 | METZENBAUM SCISSORS CVD180MM E | | | **1** | |
| 28 | METZENBAUM DISSECT.SCISSORS STR.180MM | | | **2** | |
| 29 | MAYO-HEGAR NEEDLE HOLDER150MM E | | | **1** | |
| 30 | MAYO-HEGAR NEEDLE HOLDER185MM E | | | **1** | |
| 31 | TC MAYO-HEGAR NDLHOLDERHVYSERR150MM | | | **1** | |
| 32 | TC MAYO-HEGAR NDL HOLDERHVYSERR185MM | | | **1** | |
| 33 | TC DEBAKEY NEEDLE HOLDER 150MM | | | **1** | |
| 34 | TC DEBAKEY NDL HOLDER DEL SERR 180MM | | | **1** | |
| 35 | ADSON TISSUE FCPS FINE W/1X2T 120MM E | | | **2** | |
| 36 | ADSON FORCEPS SERR 120MM E | | | **2** | |
| 37 | DISSECT.FORCEPS MED.WIDE 1X2T.180MM | | | **1** | |
| 38 | CAIRNS DOTT DISSECT.FORCEPS 178MM | | | **2** | |
| 39 | KERRISON 130DG-UP 2MM 180MM | | | **1** | |
| 40 | KERRISON 130DG-UP 3MM 180MM | | | **1** | |
| 41 | FRAZIER BRAIN PUNCTURE CANNULA | | | **2** | |
| 42 | PENNYBACKER RONGEUR 203MM | | | **1** | |
| 43 | CONE LAMINECTOMY RETRACTOR 3 X 4 TEETH | | | **1** | |
| 44 | FORCEPS BAYO 1X2 200MM | | | **2** | |
| 45 | SPURLING RONGEUR STR 4X10MM180MM | | | **2** | |
| 46 | YASARGIL MICROFORM BAYO FCPS .6MM180MM | | | **1** | |
| 47 | YASARGIL MICROFORM BAYO FCPS.9MM180MM | | | **1** | |
| 48 | YAS. MICRO SCISSDELBAYOSTS/S225MM | | | **1** | |
| 49 | YAS.MICRO SCISS BAYOUP-CVDS/S225MM | | | **1** | |
| 50 | LABORATORY DISH 0.4 L | | | **2** | |
| 51 | KIDNEY TRAY STAINLESS STEEL 250MM | | | **1** | |
| 52 | 1/1 SIZE PERF BASKET 485X253X76MM | | | **1** | |
| 53 | TUNNELING INSTRUMENT 450MM | | | **1** | |
| 54 | CLOWARD TYPE RETRACTOR W/5 BLADES 250MM | | | **1** | |
|  |  | | |  | |
|  | **Sterlization container Validated for 5000 Cycles** | | |  | |
|  | BOTTOM FOR 1/1 CONTAINER HEIGHT:120MM | | | **3** | |
|  | PRIMELINE CLEAR LID 1/1 SIZE | | | **3** | |
|  | 1/1 SIZE PERF BASKET 540X253X56MM | | | **3** | |
|  |  |  |  | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  | |
|  | ***LAMINECTOMY INSTRUMENT SET*** | | | | |
| **S.NO** | **DESCRIPTION** | | | **QTY.** | |
| 1 | SCALPEL HANDLE #3 E | | | **1** | |
| 2 | SCALPEL HANDLE #4 E | | | **1** | |
| 10 | METZENBAUM SCISSORS STR 145MM E | | | **1** | |
| 11 | METZENBAUM SCISSORS CVD 145MM E | | | **1** | |
| 12 | METZENBAUM SCISSORS CVD180MM E | | | **1** | |
| 13 | METZENBAUM DISSECT.SCISSORS CVD.200MM | | | **1** | |
| 9 | CUSHING DISSECT.FORCEPS STR.180MM | | | **1** | |
| 6 | CAIRNS DOTT DISSECT.FORCEPS 178MM | | | **2** | |
| 7 | DISSECT.FORCEPS MED.WIDE 1X2T.180MM | | | **1** | |
| 8 | WAUGH DISSECT.FORCEPS 1X2T.184MM | | | **1** | |
| 4 | RAMPLEY DRESSING FORCEPS,250MM | | | **2** | |
| 3 | BACKHAUS TOWEL CLAMP 135MM E | | | **6** | |
| 53 | TC CRILE-WOOD NDL HLDRSTD SERR185MM | | | **1** | |
| 50 | TC MAYO-HEGAR NDLHOLDERHVYSERR150MM | | | **1** | |
| 51 | TC MAYO-HEGAR NDL HOLDERHVYSERR185MM | | | **1** | |
| 52 | TC MAYO-HEGAR NDL HOLDERHVYSERR205MM | | | **1** | |
| 47 | MAYO-HEGAR NEEDLE HOLDER150MM E | | | **1** | |
| 48 | MAYO-HEGAR NEEDLE HOLDER185MM E | | | **1** | |
| 49 | MAYO-HEGAR NEEDLE HOLDER200MM E | | | **1** | |
| 15 | WOUND RETRACTOR TRAVERS | | | **2** | |
| 14 | ANDERSON-ADSON RETR 4X4 SHARP 190MM | | | **2** | |
| 17 | HARVEY JACKSON RETRACTOR SHARP 3X3T. | | | **1** | |
| 16 | BECKMANN-ADSON RETR 4X4 SEMI-S 305MM | | | **1** | |
| 18 | CASPAR RETR ONLY F/BV450 W/KEY TE749 | | | **1** | |
| 19 | CASPAR BLD 4-PRONGS 37X52MM F/BV450R | | | **2** | |
| 26 | KERRISON 130DG-UP 2MM 180MM | | | **1** | |
| 27 | KERRISON 130DG-UP 3MM 180MM | | | **1** | |
| 29 | KERRISON 130DG-UP 5MM 180MM | | | **1** | |
| 28 | KERRISON 130DG-UP 4MM 180MM | | | **1** | |
| 32 | RONGEUR CHUSHING ANG.UP 3X140MM | | | **1** | |
| 33 | RONGEUR CUSHING ANGLED UP 4 X 140MM | | | **1** | |
| 34 | RONGEUR CHUSHING ANG.DOWN 3X140MM | | | **1** | |
| 35 | RONGEUR CHUSHING ANG.DOWN 4X140MM | | | **1** | |
| 30 | LOVE-GRUENWALD RONGEURSTR2X10MM130MM | | | **2** | |
| 31 | SPURLING RONGEUR STR 4X10MM135MM | | | **2** | |
| 36 | CUSHING RONGEUR STR 2X10MM180MM | | | **1** | |
| 38 | LOVE-GRUENWALD RONGUP-BITE3X10MM180MM | | | **1** | |
| 37 | SPURLING RONGEUR STR 4X10MM180MM | | | **2** | |
| 40 | LOVE-GRUENWALD RONGDN-BITE3X10MM180MM | | | **1** | |
| 41 | SPURLING RONGEUR DWN-BITE 4X10MM180MM | | | **1** | |
| 39 | SPURLING RONGCVDUP-BITE4X10MM178MM | | | **1** | |
| 5 | WATSON-CHEYNE DISSECTOR LGTH 191MM | | | **1** | |
| 42 | STILLE OSTEOTOME FINE 25/205MM | | | **1** | |
| 20 | PENNYBACKER RONGEUR 203MM | | | **1** | |
| 25 | LEKSELL RONG FCPSDBACT.CVD 245MM | | | **1** | |
| 24 | STILLE BONE RONGEUR230MM | | | **1** | |
| 21 | STILLE-RUSKIN BONE RONGEUR240MM | | | **1** | |
| 22 | LUER-STILLE BONE RONGEUR STR 225.MM | | | **1** | |
| 23 | LUER-STILLE BONE RONGEUR CVD 225MM | | | **1** | |
| 43 | FERG-FRAZIER SUCT 6FR 2/110MM WRK-LGTH | | | **1** | |
| 44 | FERG-FRAZIER SUCT 7FR110MM WRK-LGT | | | **1** | |
| 45 | FERG-FRAZIER SUCT 9FR 3/110MMWRK-LGTH | | | **1** | |
| 46 | FERG-FRAZIER SUCT 12FR 110MM WRK-LGT | | | **1** | |
| 54 | 1/1 SIZE PERF BASKET 485X253X76MM | | | **1** | |
|  | **Sterlization container Validated for 5000 Cycles** | | |  | |
|  | BOTTOM FOR 1/1 CONTAINER HEIGHT:120MM | | | **3** | |
|  | PRIMELINE CLEAR LID 1/1 SIZE | | | **3** | |
|  | 1/1 SIZE PERF BASKET 540X253X56MM | | | **3** | |