**PEADS SUGARY**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **PAEDS SURGERY DEPARTMENT**  **GENERAL SURGICAL SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | RAMPLEY SPONGE HOLDING FCP 18CM/7" | 10 |
| 2 | BACKHAUS TOWEL FCP 9CM/31/2" | 30 |
| 3 | SCALPEL HANDLE NO. 3 | 20 |
| 4 | SCALPEL HANDLE NO. 4 | 20 |
| 5 | OPERATING SCISSOR STR (FIG. 1) 20CM/8" BL/BL | 10 |
| 6 | OPERATING SCISSOR STR (FIG. 1) 13CM/5" BL/BL | 10 |
| 7 | MAYO SCISSOR STR 15CM/6" | 10 |
| 8 | MAYO SCISSOR CVD 15CM/6" | 10 |
| 9 | METZENBAUM SCISSORS 110MM STRAIGHT TC TIP | 10 |
| 10 | METZENBAUM SCISSOR STR BL/BL 14.5CM/5 3/4" T/C | 10 |
| 11 | METZENBAUM-FINE SCISSOR STR SH/SH 14.5CM/5 3/4" T/C | 10 |
| 12 | METZENBAUM FINE SCISSOR STR BL/BL 20CM/8" | 10 |
| 13 | METZENBAUM SCISSOR CVD BL/BL 20CM/8" | 10 |
| 14 | DRESSING FCP STR 13CM/5" | 30 |
| 15 | TISSUE FCP ( 1X2 TH ) 13CM/5" | 25 |
| 16 | ADSON-DRESSING FCP 12CM4 3/4" | 30 |
| 17 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 30 |
| 18 | DEBAKEY TISSUE FCP 1.5MM 16CM/6 1/4" | 20 |
| 19 | ALLIS-ATRAUMA INTESTINAL FCP 16CM / 6 1/4" | 15 |
| 20 | MICRO-MOSQUITO A/FCP STR SERR 10CM/4" | 40 |
| 21 | MICRO-MOSQUITO A/FCP CVD (SERR) 10CM/4" | 40 |
| 22 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 20 |
| 23 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 20 |
| 24 | HALSTEAD MOSQUITO A/FCP STR (SERR) 18CM/7" | 20 |
| 25 | HALSTEAD MOSQUITO A/FCP CVD (SERR) 18CM/7" | 20 |
| 26 | HALSTEAD MOSQUITO A/FCP CVD (SERR) 21CM/8 1/4" | 10 |
| 27 | OSCHSNER-KOCHER A/FCP STR (1X2 TH) 13CM/5" | 10 |
| 28 | HEGAR MAYO NEEDLE HOLDER 130MM, TC TIP FINE | 20 |
| 29 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 10 |
| 30 | PROBE ( 1.5MM ) 14.5CM / 5 3/4" D/E | 10 |
| 31 | VOLKMANN BONE CURETTES 13CM /5" OVAL/OVAL D/E | 5 |
| 32 | STAINLESS STEEL BOWL 4" | 10 |
| 33 | STAINLESS STEEL BOWL 14" | 10 |
| 34 | KIDNEY TRAY 8" | 10 |
| 35 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 10 |
| 36 | AUTOCLAVABLE RUBBER TUBING FOR SUCTION | 20 |
| 37 | SENN-GREEN RETRACTOR 10X6MM 15CM / 6" | 10 |
| 38 | LANGENBECK RETRACTOR 21CM/ 8 1/2" (30X11MM) | 10 |
| 39 | LANGENBECK RETRACTOR 21CM/ 8 1/4" (55X20MM) | 5 |
| 40 | DESMARRES VEIN RETRACTOR 13MM 13CM / 5" | 5 |
| 41 | STERILIZING & STORING BOX 600 X 300 X 150MM | 4 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **PLASTIC SURGICAL SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | GILLIES-SLIM NEEDLE HOLDER T/C 14.5CM/5 1/2" | 5 |
| 2 | GILLIES-SLIM NEEDLE HOLDER T/C 14.5CM/5 1/2" | 5 |
| 3 | FINE SCISSOR STR 11.5CM/4 1/2" T/C | 5 |
| 4 | FINE SCISSOR CVD 11.5CM/4 1/2" T/C | 5 |
| 5 | MCINDOE DRESSING FCP 15CM/6" | 5 |
| 6 | MICRO-ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 5 |
| 7 | GRAEFE NERVE HOOK SHARP 16CM/6 1/4" | 5 |
| 8 | GUTHRIE NERVE HOOK 16CM/6 1/4" | 5 |
| 9 | ALM RETRACTOR 10CM / 4" BLUNT | 5 |
| 10 | WEITLANER RETRACTOR 20CM /8" BLUNT ( 3X4 TH ) | 5 |
| 11 | FRAZIER SUCTION TUBE 17CM 10FIG | 5 |
| 12 | DEBAKEY TISSUE FCP 1.5MM 16CM/6 1/4" | 5 |
| 13 | HUMBY SKIN GRAFTING KNIFE 30CM/12" | 1 |
| 14 | FRAZIER SUCTION TUBE 17CM 6FIG | 5 |
| 15 | FRAZIER SUCTION TUBE 17CM 8FIG | 5 |
| 16 | STERILIZING & STORING BOX 250 X 150 X 50MM | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **LAPAROTOMY SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | BALFOUR USA-MODEL RETRACTOR COMPLETE | 1 |
| 2 | BALFOUR USA-MODEL RETRACTOR COMPLETE | 1 |
| 3 | O'SULLIVAN-O'CONNOR RETRACTOR COMPLETE | 1 |
| 4 | DEAVER RETRACTOR 18CM/7" ( 19MM ) | 3 |
| 5 | DEAVER RETRACTOR 21.5CM/8 1/2" ( 22MM ) | 3 |
| 6 | DEAVER RETRACTOR 23CM/9" ( 25MM ) | 3 |
| 7 | DEAVER RETRACTOR 30CM/12" ( 38MM ) | 3 |
| 8 | DEAVER RETRACTOR 30CM/12" ( 50MM ) | 2 |
| 9 | MAYO-HEGAR NEEDLE HOLDER T/C 20CM/8" | 5 |
| 10 | BABCOCK FORCEPS 120MM, ATRAUMATIC | 3 |
| 11 | BABCOCK-ATRAUMA FCP 16CM / 6 1/4" | 3 |
| 12 | BABCOCK FORCEPS 120MM, ATRAUMATIC | 3 |
| 13 | BABCOCK-ATRAUMA FCP 20CM / 8" | 3 |
| 14 | DOYEN INTESTINAL CLAMP 100MM, STRIAGHT ATRAUMATIC | 3 |
| 15 | DOYEN-ATRAUMA INTESTINAL CLAMP STR 13CM / 5" | 3 |
| 16 | DOYEN-ATRAUMA INTESTINAL CLAMP STR 21CM / 8 1/4" | 3 |
| 17 | DOYEN INTESTINAL CLAMP 250MM, STRIAGHT ATRAUMATIC | 3 |
| 18 | DOYEN INTESTINAL CLAMP 100MM, CRUSHING ATRAUMATIC | 3 |
| 19 | DOYEN INTESTINAL CLAMP 150MM, CRUSHING ATRAUMATIC | 3 |
| 20 | KOCHER INTESTINAL CLAMP STR 22CM / 8 3/4" | 3 |
| 21 | KOCHER INTESTINAL CLAMP STR 25CM / 10" | 3 |
| 22 | DUVAL ATRAUMA TISSUE FCP 20CM / 8" | 2 |
| 23 | POOLE SUCTION NOZZLE 220MM, 30Fr | 2 |
| 24 | LAHEY GALL DUCT CLAMP 150MM, | 2 |
| 25 | LAHEY GALL DUCT CLAMP 190MM, | 2 |
| 26 | LAHEY GALL DUCT CLAMP 230MM, | 1 |
| 27 | MALLEABLE SPATULA 200MM | 3 |
| 28 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X40MM ) S/E | 3 |
| 29 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X50MM ) S/E | 3 |
| 30 | MORRIS RETRACTOR 21CM/8 1/4" ( 70X65MM ) S/E | 3 |
| 31 | STERILING & STORING BOX 500MM X 200MM X 100MM | 3 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **BILLIARY SURGERY SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | DESJARDINS GALL STONE FCP 23CM / 9" FIG. 1 | 2 |
| 2 | BAKES DILATOR 3MM 30CM / 12" | 2 |
| 3 | BAKES DILATOR 4MM 30CM / 12" | 2 |
| 4 | BAKES DILATOR 4MM 30CM / 12" | 2 |
| 5 | BAKES DILATOR 6MM 30CM / 12" | 2 |
| 6 | BAKES DILATOR 7MM 30CM / 12" | 2 |
| 7 | BAKES DILATOR 8MM 30CM / 12" | 2 |
| 8 | BAKES DILATOR 9MM 30CM / 12" | 2 |
| 9 | BAKES DILATOR 10MM 30CM / 12" | 2 |
| 10 | BAKES DILATOR 11MM 30CM / 12" | 2 |
| 11 | MOYNIHAN GALL STONE PROBE 365MM, MALLEABLE | 2 |
| 12 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 2.5MM 32CM / 12 1/2 " | 2 |
| 13 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 3.2MM 32CM / 12 1/2 " | 2 |
| 14 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 4.2MM 32CM / 12 1/2 " | 2 |
| 15 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 5.5MM 32CM / 12 1/2 " | 2 |
| 16 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 6.7MM 32CM / 12 1/2 " | 2 |
| 17 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 8MM 32CM / 12 1/2 " | 2 |
| 18 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 11MM 32CM / 12 1/2 " | 2 |
| 19 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 15MM 32CM / 12 1/2 " | 2 |
| 20 | TURNER WARWICK GALL STONE 185MM, 90\* CURVED | 2 |
| 21 | TURNER WARWICK GALL STONE 185MM, 60\* CURVED | 2 |
| 22 | TURNER WARWICK GALL STONE 185MM, 45\* CURVED | 2 |
| 23 | TURNER WARWICK GALL STONE 185MM, 30\* CURVED | 2 |
| 24 | MOYNIHAN GALL STONE PROBE 230MM, MALLEABLE | 2 |
| 25 | LAHEY GALL DUCT CLAMP 150MM, ATRAUMATIC | 2 |
| 26 | LAHEY GALL STONE CLAMPS 19CM/7 1/2" | 2 |
| 27 | MIXTER DISSECTING, LIGAUTRE FCPS 22CM/8 3/4" | 2 |
| 28 | DESJARDINS GALL STONE FCP 23CM / 9" FIG. 1 | 2 |
| 29 | STERILIZING & STORING BOX 500 X 200 X 100MM | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **THORACOTOMY SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | SEUTIN CLOTHING SCISSOR 23CM/9" | 2 |
| 2 | GIERTZ STILLE RIB SHEAR 150MM | 2 |
| 3 | GIERTZ STILLE RIB SHEAR 210MM | 2 |
| 4 | GIERTZ-STILLE RIB SHEAR 27CM / 10 1/2" | 2 |
| 5 | COOLEY RIB SPREADER 15 X 30 X 75MM | 2 |
| 6 | COOLEY RIB SPREADER 21 X 45 X 145MM | 2 |
| 7 | COOLEY RIB SPREADER 32 X 50 X 190MM | 2 |
| 8 | BAILEY-BABY RIB CONTRACTOR 14CM / 5 1/2" | 2 |
| 9 | BAILEY RIB CONTRACTOR 16CM / 6 1/4" | 2 |
| 10 | BAILEY RIB CONTRACTOR 16CM / 6 1/4" | 2 |
| 11 | ALLISON LUNG RETRACTOR 25.5CM / 10" | 3 |
| 12 | ALLISON LUNG RETRACTOR 30CM / 12" | 2 |
| 13 | ALLISON LUNG RETRACTOR 30CM / 12" | 2 |
| 14 | ALLISON LUNG RETRACTOR 350MM | 2 |
| 15 | DUVAL INTESTINAL TISSUE FCP 18CM / 7" | 2 |
| 16 | DUVAL INTESTINAL TISSUE FCP 20CM / 8" | 2 |
| 17 | DUVAL INTESTINAL TISSUE FCP 23CM / 9" | 2 |
| 18 | PRICE THOMAS BRONCHUS CLAMP 190MM, ATRAUMATIC | 2 |
| 19 | PRICE-THOMAS BRONCHUS CLAMP 22CM / 8 3/4" | 2 |
| 20 | GREGORY SOFT BULLDOG 50MM, ATRAUMATIC | 2 |
| 21 | GREGORY-SOFT BULLDOG CLAMP 9CM / 3 1/2" | 2 |
| 22 | GREGORY SOFT BULLDOG 110MM, ATRAUMATIC | 2 |
| 23 | COOLEY DE BAKEY CLAMP 16CM / 6 1/4" | 2 |
| 24 | DOYEN RASPATORY 17CM / 6 3/4" ADULT | 2 |
| 25 | FINOCCHIETTO RIB SPREADER 38 X 45 X 165MM | 2 |
| 26 | FINOCCHIETTO RIB SPREADER 44 X 65 X 200MM | 2 |
| 27 | FINOCCHIETTO RIB SPREADER 44 X 65 X 250MM | 1 |
| 28 |  | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **LABIOPLASTY / PLATOPLASTY SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | SCALPEL HANDLE NO. 7 | 2 |
| 2 | FRAZIER SUCTION TUBE 17CM 6FIG | 2 |
| 3 | FRAZIER SUCTION TUBE 17CM 8FIG | 2 |
| 4 | FRAZIER SUCTION TUBE 17CM 10FIG | 2 |
| 5 | FRAZIER SUCTION TUBE 17CM 12FIG | 2 |
| 6 | KILNER-DOUGHTY MOUTH GAG BLADE 65 X 28MM FIG. 1 | 1 |
| 7 | KILNER-DOUGHTY MOUTH GAG BLADE 75 X 32MM FIG. 2 | 1 |
| 8 | KILNER-DOUGHTY MOUTH GAG BLADE 80 X 37MM FIG. 3 | 1 |
| 9 | DAVIS-BOYLE MOUTH GAG ONLY | 1 |
| 10 | DAVIS-BOYLE MOUTH GAG ONLY | 1 |
| 11 | KILNER-DOUGHTY MOUTH GAG ONLY | 2 |
| 12 | FREER ELEVATOR SHARP/BLUNT 18CM / 7" | 3 |
| 13 | FREER ELEVATOR BLUNT 19CM / 7 1/2" | 3 |
| 14 | FREER ELEVATOR SHARP 19CM / 7 1/2" | 3 |
| 15 | OBWEGESER RASPATORY 17.5.CM/7" | 2 |
| 16 | GERALD DRESSING FCP MICRO 17.5CM/6 3/4" | 3 |
| 17 | GERALD TISSUE FCP ( 1X2 TH )18CM/7" | 3 |
| 18 | WALTON CHISEL 3MM 19CM / 7 3/4" | 2 |
| 19 | HAJEK BONE MALLET 21.5CM / 8 3/4" | 2 |
| 20 | GEMINI MINI DISSECTING FCP 18CM/7" | 3 |
| 21 | HEGEMANN ( DIETHRICH ) VASCULAR SCISSOR ( 90° ) 16CM/6 1/4" | 3 |
| 22 | CASTROVIEJO CALIPER 20MM | 3 |
| 23 | NEEDLE POINT MEASURING CALIPER | 3 |
| 24 | SCALPEL HANDLE 21CM/8 1/4" STR | 3 |
| 25 | STERILIZING & STORING BOX 250 X 150 X 50MM | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **RECTAL SURGERY SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | SIM'S RECTAL SPECULUM 15CM / 6" SOLID | 2 |
| 2 | KELLY PROCTOSCOPE 22MM X 50MM | 2 |
| 3 | KELLY PROCTOSCOPE 22MM X 100MM | 2 |
| 4 | KELLY PROCTOSCOPE 22MM X 140MM | 2 |
| 5 | SMITH-BLUE ANAL RETRACTOR 15CM / 6" | 2 |
| 6 | PARK ANAL RETRACTOR COMPLETE 14.5CM / 5 3/4" | 2 |
| 7 | DUVAL ATRAUMA TISSUE FCP 23CM / 9" | 2 |
| 8 | ALM RETRACTOR 7CM / 2 3/4" BLUNT | 2 |
| 9 | ALM RETRACTOR 10CM / 4" BLUNT | 2 |
| 10 | HEGAR DILATOR 6MM S/E | 1 |
| 11 | NELATON PROBE 16CM / 6 1/4" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **CIRCUMCISION SET**  ***SET CONSISTS OF:*** | **1** |
| 1 | RAMPLEY SPONGE HOLDING FCP 18CM/7" | 10 |
| 2 | BACKHAUS TOWEL FCP 9CM/31/2" | 10 |
| 3 | SCALPEL HANDLE NO. 4 | 10 |
| 4 | OPERATING SCISSOR STR (FIG. 1) 13CM/5" BL/BL | 10 |
| 5 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" FIG. 1 | 5 |
| 6 | ADSON-DRESSING FCP 12CM4 3/4" | 5 |
| 7 | PROBE ( 1.0MM ) 14.5CM / 5 3/4" D/E | 5 |
| 8 | MICRO-MOSQUITO A/FCP STR SERR 10CM/4" | 20 |
| 9 | KAZANJIAN BONE CUTTING FCP 18CM / 7" | 10 |
| 10 | HEGAR MAYO NEEDLE HOLDER 130MM, TC TIP FINE | 10 |
| 11 | CIRCUMCISION INSTRUMENT 8MM | 1 |
| 12 | CIRCUMCISION INSTRUMENT 11MM | 1 |
| 13 | CIRCUMCISION INSTRUMENT 13MM | 1 |
| 14 | STERILIZING & STORING BOX 250 X 150 X 50MM | 5 |
|  |  |  |