**UROLOGY**

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **UROLOGY O.T. INSTRUMENTS** | **1** |
| 1 | INSTRUMENTS TRAY WITH LID 10 X 12 X 2 | 1 |
| 2 | KIDNEY TRAY MEDIUM 10" | 1 |
| 3 | CRILE A/FCP CVD 14CM/51/2" | 1 |
| 4 | SCALPEL HANDLE NO. 4 | 1 |
| 5 | SCALPEL HANDLE NO. 3 | 1 |
| 6 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 1 |
| 7 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 1 |
| 8 | THOMAS-ALLIS INTESTINAL FCP 6X7 TH 20CM / 8" | 1 |
| 9 | GUYON KIDNEY CLAMP 24CM / 9 1/2" | 1 |
| 10 | CZERNY RETRACTOR 18CM / 7" | 1 |
| 11 | LANGENBECK RETRACTOR 21CM/ 8 1/2" (42X13MM) | 1 |
| 12 | DEAVER RETRACTOR 30CM/12" ( 25MM ) | 1 |
| 13 | DEAVER RETRACTOR 33CM/13" ( 25MM ) | 1 |
| 14 | DEAVER RETRACTOR 30CM/12" ( 38MM ) | 1 |
| 15 | DEAVER RETRACTOR 30CM/12" ( 50MM ) | 1 |
| 16 | DEAVER RETRACTOR 30CM/12" ( 75MM ) | 1 |
| 17 | THOMSON WALKER BLADDER RETRACTORS WITH CENTER BLADE | 1 |
| 18 | ROCHESTER PEAN A/FCP STR (SERR) 20CM/8" | 1 |
| 19 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 1 |
| 20 | LEWKOWITZ LITHOTOMY FORCEPS STR 26CM | 1 |
| 21 | SATINSKY DE BAKEY OCCLUSION CLAMP 25CM / 10" | 1 |
| 22 | DRESSING FCP STR 18CM/7" | 1 |
| 23 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 24 | DRESSING FCP STR 25CM/10" | 1 |
| 25 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 26 | MAYO-HEGAR NEEDLE HOLDER 18CM/7" | 1 |
| 27 | MAYO-HEGAR NEEDLE HOLDER 24CM/9 1/2" | 1 |
| 28 | METZENBAUM SCISSOR STR BL/BL 18CM//7" | 1 |
| 29 | METZENBAUM SCISSOR CVD BL/BL 18CM/7" | 1 |
| 30 | METZENBAUM SCISSOR CVD BL/BL 23CM/9" | 1 |
| 31 | MILLIN BLADDER RETRACTOR | 1 |
| 32 | DESJARDINS GALL STONE FCP 23CM / 9" FIG. 1 | 1 |
| 33 | DESJARDINS GALL STONE FCP 23CM / 9" FIG. 2 | 1 |
| 34 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 35 | POOLE SUCTION TUBE ( 10MM ) 22CM/8 3/4" STR | 1 |
| 36 | BROWN TISSUE FCP 20CM/8" | 1 |
| 37 | VAN BUREN DILATOR 28CM / 11" IN CANVAS POUCH SET OF 6 | 1 |
| 38 | FEMALE CATHETER SET OF 10 PCS | 1 |
| 39 | ALLIS TISSUE FCP 5X6 TH 25CM / 10" | 1 |
| 40 | DRESSING DRUM ROUND SPOT WELDED 300X300MM | 1 |
| 41 | DRESSING DRUM ROUND SPOT WELDED 380X380MM | 1 |
| 42 | STERILIZING CHEATLE FCPS B/J 27CM/10/12' | 1 |
| 43 | JAR FOR HOLDING CHEATLE FORCEPS 180X50MM | 1 |
| 44 | LOTION BOWL 50X100MM, 250ML | 1 |
| 45 | LOTION BOWL 75X200MM | 1 |
| 46 | MILLIN RETRACTOR 28.5CM / 11 1/4" | 1 |
| 47 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 1 |
| 48 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 1 |
| 49 | SIMS VAGINAL SPECULUM 60MM X 25 X 30MM | 1 |
| 50 | MALE CATHETER SET OF 10 PCS | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **KIDNEY PACK** | **1** |
|  | **CONSISTING OF:** |  |
| 1 | ROCHESTER PEAN A/FCP STR (SERR) 16CM/6 1/4" | 1 |
| 2 | MAYO-HEGAR NEEDLE HOLDER 20CM/8" | 1 |
| 3 | MOYNIHAN GALL DUCT CLAMP 23CM/9" | 1 |
| 4 | LAHEY GALL STONE CLAMPS 23CM/9" | 1 |
| 5 | LAHEY GALL STONE CLAMPS 23CM/9" | 1 |
| 6 | MIXTER DISSECTING, LIGAUTRE FCPS 22CM/8 3/4" | 1 |
| 7 | SCALPEL HANDLE NO. 3L | 1 |
| 8 | DEBAKEY TISSUE FCP 2.0MM 20CM/8' | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **VASCULAR SURGERY INSTRUMENT SET** | **1** |
|  | **CONSISTING OF:** |  |
| 1 | SAENGER OVUM FCP STR 27CM / 10 1/2" | 1 |
| 2 | SCALPEL HANDLE NO. 3 | 1 |
| 3 | SCALPEL HANDLE NO. 4 | 1 |
| 4 | SCALPEL HANDLE NO. 7 | 1 |
| 5 | MAYO SCISSOR STR 17CM/6 3/4" | 2 |
| 6 | MAYO SCISSOR CVD 17CM/6 3/4" | 2 |
| 7 | METZENBAUM SCISSOR STR BL/BL 14.5CM/5 3/4" T/C | 1 |
| 8 | METZENBAUM SCISSOR CVD BL/BL T/C 18CM/7" | 2 |
| 9 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 20CM/8" | 1 |
| 10 | METZENBAUM SCISSORS 11" T/C CVD | 1 |
| 11 | METZENBAUM SCISSORS 12" T/C CVD | 1 |
| 12 | TISSUE FCP ( 1X2 TH ) 13CM/5" | 2 |
| 13 | RUSSIAN TISSUE FCP 20CM/8" | 2 |
| 14 | CUSHING TISSUE FCP 17.5CM/7" | 2 |
| 15 | NELSON GRASPING FCP 23CM/9" | 2 |
| 16 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 17 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 12 |
| 18 | CRILE A/FCP CVD 14CM/51/2" | 6 |
| 19 | COLLER-CRILE A/FCP CVD (SERR) 16CM/6 1/4" | 8 |
| 20 | ROCHESTER PEAN A/FCP CVD (SERR) 22CM/8 3/4" | 4 |
| 21 | ROCHESTER PEAN A/FCP STR (SERR) 20CM/8" | 8 |
| 22 | MIXTER-O'SHAUGNESSY LIGAUTRE FCP 19CM/7 1/2" | 2 |
| 23 | HALSTEAD MOSQUITO A/FCP CVD (SERR) 21CM/8 1/4" | 8 |
| 24 | MIXTER-SLIM LIGAUTRE FCP 23CM/9" | 1 |
| 25 | BACKHAUS TOWEL FCP 9CM/31/2" | 4 |
| 26 | BACKHAUS TOWEL FCP 13CM/5" | 8 |
| 27 | FORESTER SPONGE HOLDING FCP SERRATED STR 25CM/10" | 2 |
| 28 | MAYO-HEGAR NEEDLE HOLDER T/C 18CM/7" | 3 |
| 29 | DE-BAKEY NEEDLE HOLDER T/C 18CM/7" | 2 |
| 30 | DE-BAKEY NEEDLE HOLDER T/C 23CM/9" | 2 |
| 31 | RICHARDSON-EASTMAN RETRACTOR SET OF 2 | 2 |
| 32 | ALLIS TISSUE FCP 5X6 TH 25CM / 10" | 4 |
| 33 | DEBAKEY TISSUE FCP 1.5MM 18CM/7" | 2 |
| 34 | DEBAKEY TISSUE FCP 1.5MM 16CM/6 1/4" | 2 |
| 35 | DEBAKEY TISSUE FCP 1.5MM 24CM/9 1/2" | 2 |
| 36 | DE BAKEY-BAHNSON ANEURYSM CLAMP 24.5CM / 9 3/4" | 2 |
| 37 | SATINSKY-DEBAKEY VENA CAVA CLAMP 9 1/2" | 3 |
| 38 | HEGAR DILATOR 3 / 4MM - 17 / 18MM SET OF 8 | 1 |
| 39 | TUBING CLAMP 18CM/7" | 3 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **KIDNEY DONOR TRAY** | ***1*** |
|  | **CONSISTING OF:** |  |
| 1 | DEBAKEY TISSUE FCP 2.0MM 30CM/12" | 1 |
| 2 | DEBAKEY TISSUE FCP 2.0MM 30CM/12" CVD | 1 |
| 3 | POTTS - SMITH VASCULAR SCISSOR 19CM/7 1/2" ( 25° ) | 1 |
| 4 | BOWEL LARGE 8" | 2 |
| 5 | BONE MALLET 900G 26.5CM / 10 1/2" | 2 |
| 6 | ROCHESTER PEAN A/FCP CVD (SERR) 18CM/7" | 1 |
| 7 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 8 | KIDNEY TRAY 10" | 1 |
| 9 | KIDNEY TRAY 12" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Offered Specification** | **QTY.** |
|  | **PHIMOSIS SET** |  |
| 1 | EYE SCISSOR STANDARD STR 11.5CM/4 1/2" | 2 |
| 2 | ADSON-DRESSING FCP 12CM4 3/4" | 12 |
| 3 | ADSON BROWN TISSUE FCP 12CM/4 3/4" | 1 |
| 4 | MICRO-MOSQUITO A/FCP CVD (SERR) 12CM/43/4" | 1 |
| 5 | WEBSTER NEEDLE HOLDER SMOOTH T/C 13CM/5" | 1 |
| 6 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 2.5MM 32CM / 12 1/2 " | 1 |
| 7 | LUER-KOERTE GALL STONE SCOOP MALLEABLE 5.5MM 32CM / 12 1/2 " | 1 |
| 8 | FRAZIER SUCTION TUBE 17CM 8FIG | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **ORCHIDECTOMY SET** |  |
| 1 | SCALPEL HANDLE NO. 3 | 1 |
| 2 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 3 | MAYO SCISSOR CVD 14.5CM/5 3/4" | 1 |
| 4 | METZENBAUM SCISSOR CVD 18CM/7" | 1 |
| 5 | DRESSING FCP STR 14.5CM/5 3/4" | 1 |
| 6 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 7 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 6 |
| 8 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 6 |
| 9 | BACKHAUS TOWEL FCP 9CM/31/2" | 6 |
| 10 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 11 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 1 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **KIRSCHNER FRAME SET** | ***1*** |
|  | **MONALDI VESICAL FISTULA SET** |  |
| 1 | MAYO SCISSOR STR 23CM/9" | 1 |
| 2 | MAYO SCISSOR CVD 23CM/9" | 1 |
| 3 | ROCHESTER PEAN A/FCP CVD (SERR) 20CM/8" | 6 |
| 4 | RICHARDSON RETRACTOR 26CM/10 1/4" ( 36X28MM ) S/E | 1 |
| 5 | KELLY RETRACTOR 38MM X 190MM | 1 |
| 6 | THOMSON WALKER BLADDER RETRACTORS WITH CENTER BLADE | 1 |
| 7 | CLUTTON URETHRAL SOUNDS SET OF 6 | 1 |
| 8 | YOUNG PROSTATIC RETRACTOR 21CM / 8 1/4" | 2 |
| 9 | YOUNG PROSTATIC RETRACTOR 22CM / 8 3/4" | 2 |
| 10 | YOUNG PROSTATIC RETRACTOR 21CM / 8 1/4" | 2 |

|  |  |  |
| --- | --- | --- |
| **S.No** | **Description** | **QTY.** |
|  | **MISCELLANEOUS INDIVIDUAL INSTRUMENTS** |  |
| 1 | DEBAKEY VASCULAR FORCEPS CVD 11" | 1 |
| 2 | DEBAKEY VASCULAR FORCEPS STR 11" | 1 |
| 3 | POTTS - SMITH VASCULAR SCISSOR 19CM/7 1/2" ( 25° ) | 1 |
| 4 | BOWEL LARGE 8" | 1 |
| 5 | ROCHESTER PEAN A/FCP STR (SERR) 18CM/7" | 1 |
| 6 | TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 7 | KIDNEY TRAY 10" | 1 |
| 8 | KIDNEY TRAY 12" | 1 |
| 9 | MAYO DISSECTING SCISSORS 9" STR | 1 |
| 10 | MAYO DISSECTING SCISSORS 9" CVD | 1 |
| 11 | SCALPEL HANDLE NO. 3 | 1 |
| 12 | SCALPEL HANDLE NO. 4 | 1 |
| 13 | SCALPEL HANDLE NO. 7 | 1 |
| 14 | MAYO SCISSOR STR 14.5CM5 3/4" | 1 |
| 15 | MAYO SCISSOR CVD 14.5CM/5 3/4" | 1 |
| 16 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 17 | DRESSING FCP STR 13CM/5" | 1 |
| 18 | ADSON TISSUE FCP ( 1X2 TH ) 12CM/4 3/4" | 1 |
| 19 | HALSTEAD MOSQUITO A/FCP STR ( SERR ) 12CM/4 3/4" | 1 |
| 20 | HALSTEAD MOSQUITO A/FCP CVD ( SERR ) 12CM/4 3/4" | 1 |
| 21 | BACKHAUS TOWEL FCP 9CM/31/2" | 1 |
| 22 | CRILE-WOOD NEEDLE HOLDER T/C 15CM/6" | 1 |
| 23 | ALLIS TISSUE FCP 5X6 TH 15CM / 6" | 1 |
| 24 | METZENBAUM SCISSOR CVD BL/BL 14.5CM/5 3/4" T/C | 1 |
| 25 | METZENBAUM SCISSOR CVD BL/BL T/C 18CM/7" | 1 |
| 26 | METZENBAUM-FINE SCISSOR CVD BL/BL T/C 20CM/8" | 1 |
| 27 | METZENBAUM SCISSORS 11" T/C CVD | 1 |
| 28 | METZENBAUM SCISSORS 12" T/C CVD | 1 |
| 29 | ROCHESTER PEAN A/FCP CVD (SERR) 24CM/9 1/2" | 1 |
| 30 | HALSTEAD MOSQUITO A/FCP CVD (SERR) 21CM/8 1/4" | 1 |
| 31 | BACKHAUS TOWEL FCP 9CM/31/2" | 1 |
| 32 | BACKHAUS TOWEL FCP 13CM/5" | 1 |
| 33 | INSTRUMENTS TRAY WITH LID 10 X 12 X 2 | 1 |
| 34 | BABCOCK TISSUE FCP 16CM / 6 1/4" | 1 |
| 35 | BABCOCK TISSUE FCP 20CM / 8" | 1 |
| 36 | LANE TISSUE FCP ( 1X2 TH ) 18CM/7" | 1 |
| 37 | SIMS SEPCULUM SET | 1 |
| 38 | FINE SCISSOR CVD 11.5CM/4 1/2" T/C | 1 |
| 39 | FINE SCISSOR STR 11.5CM/4 1/2" T/C | 1 |
| 40 | OSCHSNER-KOCHER A/FCP STR (1X2 TH) 16CM/6 1/4" | 1 |
| 41 | OSCHSNER-KOCHER A/FCP CVD (1X2 TH) 18CM/7" | 1 |